## YSI MPS
YSI 556 MPS Audit Log
Date | 2005-10-20 | Time | 13:37
Name | Drexell Barnes - COB Water Quality Lab
Meter #
SN 04C1624 AX
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
temperature | COB SN 1622 | 20.7 | 20.73 | -0.03 | 2 | PASS
conductivity | COB YSI 3200 | 145.5 | 145 | 0.5 | 21.825 | PASS
pH | COB Orion SN 27985 | 7.08 | 6.99 | 0.09 | 0.5 | PASS
dissolved oxygen | Winkler | 7.3 | 7.54 | -0.24 | 1.0 mg/L | PASS
dissolved oxygen
Comments: Analysis performed in City of Bend Water Quality Laboratory

## Hach Turbidity
Hach 2100P Audit Log
Date | 2005-10-20 | Time | 15:05
Name | Drexell Barnes - COB Water Quality Lab
Meter #
COB Hach 2100P SN 040300035008
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
Turbidity 0-1000 | Gelex secondary | 520 | 526 | -6 | 156 | PASS
Turbidity 0-500 | Gelex secondary | 52.7 | 53.5 | -0.8 | 15.81 | PASS
Turbidity 0-5 | Gelex secondary | 5.83 | 5.94 | -0.11 | 1.749 | PASS
Comments: Analysis performed in City of Bend Water Quality Laboratory