## YSI MPS
YSI 556 MPS Audit Log
Date | 2005-10-17 | Time | 13:45
Name | Drexell Barnes - COB Water Quality Lab
Meter #
SN 04C1624 AX
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
temperature | COB SN 1622 | 21.5 | 21.49 | 0.01 | 2 | PASS
conductivity | COB YSI 3200 | 141.5 | 147 | -5.5 | 21.225 | PASS
pH | COB Orion SN 27985 | 7.06 | 6.99 | 0.07 | 0.5 | PASS
dissolved oxygen | Winkler | 8.2 | 8.48 | -0.28 | 1.0 mg/L | PASS
dissolved oxygen |  |  | 84.7%
Comments: Analysis performed in City of Bend Water Quality Laboratory

## Hach Turbidity
Hach 2100P Audit Log
Date | 2005-10-18 | Time | 9:36
Name | Drexell Barnes - COB Water Quality Lab
Meter #
COB Hach 2100P SN 040300035008
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
Turbidity 0-1000 | Gelex secondary | 520 | 525 | -5 | 156 | PASS
Turbidity 0-500 | Gelex secondary | 52.7 | 53.3 | -0.6 | 15.81 | PASS
Turbidity 0-5 | Gelex secondary | 5.83 | 5.93 | -0.1 | 1.749 | PASS
Comments: Analysis performed in City of Bend Water Quality Laboratory