## YSI MPS
YSI 556 MPS Audit Log
Date | 2005-08-05 | Time | 8:35
Name | Drexell Barnes - COB Water Quality Lab
Meter #
SN 05G1083 AM
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
temperature | COB SN 1622 | 21.4 | 21.4 | 0 | 2 | PASS
conductivity | COB YSI 3200 | 141.9 | 146 | -4.1 | 21.285 | PASS
pH | COB Orion SN 27985 | 7.01 | 7.08 | -0.07 | 0.5 | PASS
dissolved oxygen | Winkler | 7.2 | 7.08 | 0.12 | 1.0 mg/L | PASS
dissolved oxygen |  |  | 80.4%
Comments: Analysis performed in City of Bend Water Quality Laboratory

## Hach Turbidity
Hach 2100P Audit Log
Date | 2005-08-04 | Time | 15:45
Name | Drexell Barnes - COB Water Quality Lab
Meter #
COB Hach 2100P SN 040300035008
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
Turbidity 0-1000 | Gelex secondary | 524 | 523 | 1 | 157.2 | PASS
Turbidity 0-500 | Gelex secondary | 53.4 | 53.1 | 0.3 | 16.02 | PASS
Turbidity 0-5 | Gelex secondary | 5.83 | 5.89 | -0.06 | 1.749 | PASS
Comments: Analysis performed in City of Bend Water Quality Laboratory