## YSI MPS
YSI 556 MPS Audit Log
Date | 2/28/2005 to 3/14/2005 | Time
Name | Drexell Barnes - City of Bend
Meter #
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
temperature | COB SN 1622 | 28.2 | 28.2 | 0 | 2 | Pass
conductivity | COB YSI 3200 | 142 | 147 | -5 | 21.3 | Pass
pH | COB Orion SN 27985 | 7 | 6.9 | 0.1 | 0.5 | Pass
dissolved oxygen | Winkler | 7.5 | 7.4 | 0.1 | 1.0 mg/L | Pass
dissolved oxygen |  |  | NA % Sat
Comments: Audits performed at the City of Bend Water Quality Laboratory

## Hach Turbidity
Hach 2100P Audit Log
Date | 2004-11-30 | Time
Name | Quality Control Services, Inc.
Meter #
Parameter | Reference | Reference Reading | Reading | Difference | Criteria +/- | Precision Pass / Fail
Turbidity 0-1000 | Gelex secondary |  |  | 0 | 0 | Pass
Turbidity 0-500 | Gelex secondary |  |  | 0 | 0 | Pass
Turbidity 0-5 | Gelex secondary |  |  | 0 | 0 | Pass
Comments: Audits performed at the City of Bend Water Quality Laboratory by Quality Control Services. Passed calibration and check but no data recorded.