## cont multiparameter audit
Organization | Upper Deschutes Watershed Council |  | Station ID |  | DR 165.00
Program Name | Dam Startification Study |  | Description |  | Deschutes River upstream North Canal Dam
Contact Name | Lesley Jones |  | Latitude
Number | 541-382-6103 |  | Longitude
Pre-sampling Field Equipment Check
Field equipment ID | YSI 6920 sonde #06A1700AB
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2007-07-25 |  | 2007-07-25 |  | A
Time | Computer set to atomic time | [5 empty] | A
Temp | VWR NIST traceable surface water | [5 empty] | A
DO | Winkler titration of surface water |  | 8.9 |  | 9.2 |  | A
SpC | 148 µS/mL | [5 empty] | #DIV/0!
Ph | pH 7 standard solution |  | 7.02 |  | 7 |  | A
Field Equipment Audit Results
Audit # | Date/time | Temp | pH | DO | %SAT | SpC | TDS
Audit 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grade |  | A | A | A |  | #DIV/0!
Audit 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grade |  | A | A | A |  | #DIV/0!
Audit 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grade |  | A | A | A |  | #DIV/0!
Post-sampling Field Equipment Check
Field equipment ID
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2007-07-26 |  | 2007-07-26 |  | A
Time | Computer set to atomic time |  | 18:55 |  | 18:55 |  | A
Temp | VWR NIST traceable surface water | [5 empty] | A
DO | Winkler titration of surface water |  | 9.2 |  | 9.3 |  | A
SpC | 148 µS/mL | [5 empty] | #DIV/0!
Ph | pH 7 standard solution | [5 empty] | A
Comments: |  |  | Grade | Temp | DO | SpC | pH | Turb
Dam Startification Study |  |  |  | C | mg/L | µS/mL | SU | NTU
|  |  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  |  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  |  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1

## audit 1
Organization | Upper Deschutes Watershed Council |  | Station ID |  | DR 165.00
Program Name | Dam Startification Study |  | Description |  | Deschutes River upstream North Canal Dam
Contact Name | Lesley Jones |  | Latitude |  | 0
Number | 541-382-6103 |  | Longitude |  | 0
Pre-sampling Field Equipment Check
Field equipment ID
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2007-07-25 |  | 2007-07-25 |  | A
Time | Computer set to atomic time | [5 empty] | A
Temp | VWR NIST traceable surface water | [5 empty] | A
DO | Winkler titration of surface water |  | 8.9 |  | 8.9 |  | A
SpC | 148 µS/mL | [5 empty] | #DIV/0!
Ph | pH 7 standard solution | [5 empty] | A
Turb | Gelex secondary 0-5 NTU | [5 empty] | A
Turb | Gelex secondary 0-500 NTU | [5 empty] | A
Turb | Gelex secondary 0-1000 NTU | [5 empty] | A
Field Equipment Grab Sampling Results
| Date/time | Temp | pH | DO | %SAT | SpC | TDS | Turb
Post-sampling Field Equipment Check
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2007-07-29 |  | 2007-07-29 |  | A
Time | Computer set to atomic time | [5 empty] | A
Temp | VWR NIST traceable surface water |  | 18.6 |  | 18.7 |  | A
DO | Winkler titration of surface water |  | 9.7 |  | 9.3 |  | B
SpC | 148 µS/mL |  | 147 |  | 141 |  | A
Ph | pH 7 standard solution |  | 7 |  | 7 |  | A
Turb | Gelex secondary 0-5 NTU | [5 empty] | A
Turb | Gelex secondary 0-500 NTU | [5 empty] | A
Turb | Gelex secondary 0-1000 NTU | [5 empty] | A
Comments: |  |  | Grade | Temp | DO | SpC | pH | Turb
|  |  |  | C | mg/L | µS/mL | SU | NTU
|  |  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  |  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  |  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1

## audit 2
Organization | Upper Deschutes Watershed Council |  | Station ID |  | DR 165.00
Program Name | Dam Startification Study |  | Description |  | Deschutes River upstream North Canal Dam
Contact Name | Lesley Jones |  | Latitude |  | 0
Number | 541-382-6103 |  | Longitude |  | 0
Pre-sampling Field Equipment Check
Field equipment ID
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time | [5 empty] | A
Time | Computer set to atomic time | [5 empty] | A
Temp | VWR NIST traceable surface water | [5 empty] | A
DO | Winkler titration of surface water | [5 empty] | A
SpC | 148 µS/mL | [5 empty] | #DIV/0!
Ph | pH 7 standard solution | [5 empty] | A
Turb | Gelex secondary 0-5 NTU | [5 empty] | A
Turb | Gelex secondary 0-500 NTU | [5 empty] | A
Turb | Gelex secondary 0-1000 NTU | [5 empty] | A
Field Equipment Grab Sampling Results
| Date/time | Temp | pH | DO | %SAT | SpC | TDS | Turb
Post-sampling Field Equipment Check
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time | [5 empty] | A
Time | Computer set to atomic time | [5 empty] | A
Temp | VWR NIST traceable surface water | [5 empty] | A
DO | Winkler titration of surface water | [5 empty] | A
SpC | 148 µS/mL | [5 empty] | #DIV/0!
Ph | pH 7 standard solution | [5 empty] | A
Turb | Gelex secondary 0-5 NTU | [5 empty] | A
Turb | Gelex secondary 0-500 NTU | [5 empty] | A
Turb | Gelex secondary 0-1000 NTU | [5 empty] | A
Comments: |  |  | Grade | Temp | DO | SpC | pH | Turb
|  |  |  | C | mg/L | µS/mL | SU | NTU
|  |  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  |  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  |  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1

## audit 3
Organization | Upper Deschutes Watershed Council |  | Station ID |  | DR 165.00
Program Name | Dam Startification Study |  | Description |  | Deschutes River upstream North Canal Dam
Contact Name | Lesley Jones |  | Latitude |  | 0
Number | 541-382-6103 |  | Longitude |  | 0
Pre-sampling Field Equipment Check
Field equipment ID
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time | [5 empty] | A
Time | Computer set to atomic time | [5 empty] | A
Temp | VWR NIST traceable surface water | [5 empty] | A
DO | Winkler titration of surface water | [5 empty] | A
SpC | 148 µS/mL | [5 empty] | #DIV/0!
Ph | pH 7 standard solution | [5 empty] | A
Turb | Gelex secondary 0-5 NTU | [5 empty] | A
Turb | Gelex secondary 0-500 NTU | [5 empty] | A
Turb | Gelex secondary 0-1000 NTU | [5 empty] | A
Field Equipment Grab Sampling Results
| Date/time | Temp | pH | DO | %SAT | SpC | TDS | Turb
Post-sampling Field Equipment Check
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time | [5 empty] | A
Time | Computer set to atomic time | [5 empty] | A
Temp | VWR NIST traceable surface water | [5 empty] | A
DO | Winkler titration of surface water | [5 empty] | A
SpC | 148 µS/mL | [5 empty] | #DIV/0!
Ph | pH 7 standard solution | [5 empty] | A
Turb | Gelex secondary 0-5 NTU | [5 empty] | A
Turb | Gelex secondary 0-500 NTU | [5 empty] | A
Turb | Gelex secondary 0-1000 NTU | [5 empty] | A
Comments: |  |  | Grade | Temp | DO | SpC | pH | Turb
|  |  |  | C | mg/L | µS/mL | SU | NTU
|  |  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  |  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  |  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1

## data
depth | DateTime | Temp | pH | DO Conc | DO % | SpCond | TDS
meters | M/D/Y | C |  | mg/L | % | uS/cm | mg/L
0.5 | 2007-07-26 16:57 | 19.47 | 8.59 | 8.81 | 95.9 | 60.1 | 39.1
0.5 | 2007-07-26 16:57 | 19.48 | 8.58 | 8.81 | 95.9 | 60.1 | 39.1
0.5 | 2007-07-26 16:57 | 19.48 | 8.6 | 8.82 | 96 | 60.1 | 39.1
0.5 | 2007-07-26 16:58 | 19.48 | 8.6 | 8.82 | 96 | 60.1 | 39.1
0.5 | 2007-07-26 16:58 | 19.47 | 8.59 | 8.82 | 96 | 60.1 | 39.1
0.5 | 2007-07-26 16:58 | 19.47 | 8.59 | 8.81 | 95.9 | 60.1 | 39.1
0.5 | 2007-07-26 16:59 | 19.47 | 8.59 | 8.81 | 95.9 | 60.1 | 39.1
0.5 | 2007-07-26 16:59 | 19.47 | 8.58 | 8.8 | 95.7 | 60.1 | 39.1
0.5 | 2007-07-26 16:59 | 19.48 | 8.59 | 8.79 | 95.7 | 60.1 | 39
0.5 | 2007-07-26 16:59 | 19.48 | 8.58 | 8.81 | 95.8 | 60.1 | 39.1
0.5 | 2007-07-26 16:59 | 19.48 | 8.59 | 8.8 | 95.8 | 60.1 | 39.1
0.5 | 2007-07-26 17:00 | 19.47 | 8.59 | 8.8 | 95.8 | 60.1 | 39.1
0.5 | 2007-07-26 17:00 | 19.47 | 8.6 | 8.79 | 95.7 | 60.1 | 39.1
0.5 | 2007-07-26 17:00 | 19.48 | 8.59 | 8.79 | 95.7 | 60.1 | 39.1
0.5 | 2007-07-26 17:01 | 19.47 | 8.59 | 8.79 | 95.7 | 60.1 | 39.1
0.5 | 2007-07-26 17:01 | 19.48 | 8.59 | 8.79 | 95.6 | 60.1 | 39.1
0.5 | 2007-07-26 17:01 | 19.47 | 8.59 | 8.79 | 95.6 | 60.1 | 39.1
0.5 | 2007-07-26 17:01 | 19.48 | 8.59 | 8.79 | 95.6 | 60.1 | 39.1
0.5 | 2007-07-26 17:02 | 19.47 | 8.6 | 8.79 | 95.7 | 60.1 | 39.1
0.5 | 2007-07-26 17:02 | 19.48 | 8.59 | 8.79 | 95.6 | 60.1 | 39.1
0.5 | 2007-07-26 17:02 | 19.47 | 8.59 | 8.78 | 95.6 | 60.1 | 39.1
0.5 | 2007-07-26 17:02 | 19.48 | 8.59 | 8.78 | 95.6 | 60.1 | 39.1
0.5 | 2007-07-26 17:02 | 19.48 | 8.58 | 8.78 | 95.6 | 60.1 | 39.1
1.5 | 2007-07-26 17:07 | 19.48 | 8.6 | 8.8 | 95.8 | 60.1 | 39.1
1.5 | 2007-07-26 17:07 | 19.48 | 8.59 | 8.81 | 95.9 | 60.1 | 39.1
1.5 | 2007-07-26 17:08 | 19.48 | 8.59 | 8.81 | 95.9 | 60.1 | 39.1
1.5 | 2007-07-26 17:08 | 19.48 | 8.58 | 8.81 | 95.9 | 60.1 | 39.1
1.5 | 2007-07-26 17:08 | 19.48 | 8.59 | 8.81 | 95.9 | 60.1 | 39.1
1.5 | 2007-07-26 17:08 | 19.49 | 8.58 | 8.8 | 95.9 | 60.1 | 39.1
1.5 | 2007-07-26 17:08 | 19.48 | 8.6 | 8.8 | 95.8 | 60.1 | 39.1
1.5 | 2007-07-26 17:09 | 19.48 | 8.58 | 8.8 | 95.8 | 60.1 | 39.1
1.5 | 2007-07-26 17:09 | 19.48 | 8.58 | 8.8 | 95.8 | 60.1 | 39.1
1.5 | 2007-07-26 17:09 | 19.48 | 8.58 | 8.8 | 95.8 | 60.1 | 39.1
1.5 | 2007-07-26 17:10 | 19.48 | 8.6 | 8.79 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:10 | 19.48 | 8.59 | 8.8 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:10 | 19.49 | 8.58 | 8.79 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:10 | 19.49 | 8.58 | 8.8 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:10 | 19.49 | 8.58 | 8.8 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:11 | 19.49 | 8.59 | 8.79 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:11 | 19.48 | 8.59 | 8.79 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:11 | 19.49 | 8.58 | 8.79 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:11 | 19.49 | 8.58 | 8.79 | 95.7 | 60.1 | 39.1
1.5 | 2007-07-26 17:12 | 19.49 | 8.58 | 8.78 | 95.6 | 60.1 | 39.1
1.5 | 2007-07-26 17:12 | 19.49 | 8.59 | 8.78 | 95.6 | 60.1 | 39.1
1.5 | 2007-07-26 17:12 | 19.49 | 8.58 | 8.78 | 95.6 | 60.1 | 39.1
1.5 | 2007-07-26 17:13 | 19.49 | 8.6 | 8.78 | 95.6 | 60.1 | 39.1
1.5 | 2007-07-26 17:13 | 19.49 | 8.62 | 8.78 | 95.6 | 60.1 | 39.1
2.5 | 2007-07-26 17:14 | 19.49 | 8.62 | 8.76 | 95.4 | 60.1 | 39.1
2.5 | 2007-07-26 17:14 | 19.49 | 8.62 | 8.76 | 95.4 | 60.1 | 39.1
2.5 | 2007-07-26 17:15 | 19.49 | 8.62 | 8.76 | 95.4 | 60.1 | 39.1
2.5 | 2007-07-26 17:15 | 19.49 | 8.62 | 8.76 | 95.4 | 60.1 | 39.1
2.5 | 2007-07-26 17:15 | 19.49 | 8.62 | 8.76 | 95.4 | 60.1 | 39.1
2.5 | 2007-07-26 17:15 | 19.49 | 8.61 | 8.76 | 95.4 | 60.1 | 39.1
2.5 | 2007-07-26 17:15 | 19.49 | 8.61 | 8.76 | 95.4 | 60.1 | 39.1
2.5 | 2007-07-26 17:16 | 19.49 | 8.61 | 8.76 | 95.3 | 60.1 | 39.1
2.5 | 2007-07-26 17:16 | 19.49 | 8.62 | 8.76 | 95.3 | 60.1 | 39.1
2.5 | 2007-07-26 17:16 | 19.49 | 8.61 | 8.76 | 95.3 | 60.1 | 39.1
2.5 | 2007-07-26 17:17 | 19.49 | 8.61 | 8.76 | 95.3 | 60.1 | 39.1
2.5 | 2007-07-26 17:17 | 19.49 | 8.62 | 8.75 | 95.3 | 60.1 | 39.1
2.5 | 2007-07-26 17:17 | 19.49 | 8.62 | 8.75 | 95.3 | 60.1 | 39.1
2.5 | 2007-07-26 17:17 | 19.49 | 8.62 | 8.74 | 95.2 | 60.1 | 39.1
2.5 | 2007-07-26 17:17 | 19.49 | 8.61 | 8.74 | 95.2 | 60.1 | 39.1
2.5 | 2007-07-26 17:18 | 19.49 | 8.62 | 8.74 | 95.2 | 60.2 | 39.1
2.5 | 2007-07-26 17:18 | 19.49 | 8.61 | 8.75 | 95.2 | 60.1 | 39.1
2.5 | 2007-07-26 17:18 | 19.49 | 8.61 | 8.74 | 95.2 | 60.2 | 39.1
2.5 | 2007-07-26 17:19 | 19.5 | 8.61 | 8.74 | 95.2 | 60.1 | 39.1
2.5 | 2007-07-26 17:19 | 19.5 | 8.61 | 8.74 | 95.1 | 60.2 | 39.1
3.5 | 2007-07-26 17:21 | 19.5 | 8.6 | 8.73 | 95.1 | 60.1 | 39.1
3.5 | 2007-07-26 17:21 | 19.5 | 8.6 | 8.73 | 95.1 | 60.2 | 39.1
3.5 | 2007-07-26 17:22 | 19.5 | 8.6 | 8.73 | 95 | 60.2 | 39.1
3.5 | 2007-07-26 17:22 | 19.5 | 8.61 | 8.73 | 95 | 60.2 | 39.1
3.5 | 2007-07-26 17:22 | 19.5 | 8.61 | 8.73 | 95.1 | 60.1 | 39.1
3.5 | 2007-07-26 17:22 | 19.5 | 8.62 | 8.72 | 95 | 60.1 | 39.1
3.5 | 2007-07-26 17:22 | 19.5 | 8.61 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:23 | 19.5 | 8.61 | 8.71 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:23 | 19.5 | 8.61 | 8.71 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:23 | 19.5 | 8.61 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:24 | 19.5 | 8.61 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:24 | 19.5 | 8.61 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:24 | 19.5 | 8.61 | 8.71 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:24 | 19.5 | 8.61 | 8.71 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:24 | 19.5 | 8.61 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:25 | 19.5 | 8.6 | 8.72 | 95 | 60.2 | 39.1
3.5 | 2007-07-26 17:25 | 19.5 | 8.6 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:25 | 19.5 | 8.6 | 8.72 | 94.9 | 60.1 | 39.1
3.5 | 2007-07-26 17:26 | 19.5 | 8.61 | 8.72 | 94.9 | 60.1 | 39.1
3.5 | 2007-07-26 17:26 | 19.5 | 8.62 | 8.72 | 95 | 60.2 | 39.1
3.5 | 2007-07-26 17:26 | 19.5 | 8.61 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:26 | 19.51 | 8.61 | 8.72 | 94.9 | 60.2 | 39.1
3.5 | 2007-07-26 17:26 | 19.51 | 8.61 | 8.71 | 94.9 | 60.1 | 39.1
3.5 | 2007-07-26 17:27 | 19.5 | 8.58 | 8.7 | 94.8 | 59.9 | 39
4 | 2007-07-26 17:28 | 19.51 | 8.61 | 8.71 | 94.9 | 60 | 39
4 | 2007-07-26 17:28 | 19.51 | 8.61 | 8.71 | 94.9 | 60.1 | 39
4 | 2007-07-26 17:28 | 19.51 | 8.61 | 8.7 | 94.8 | 60.1 | 39
4 | 2007-07-26 17:29 | 19.51 | 8.61 | 8.7 | 94.8 | 60.1 | 39
4 | 2007-07-26 17:29 | 19.51 | 8.61 | 8.7 | 94.7 | 60.1 | 39
4 | 2007-07-26 17:29 | 19.51 | 8.6 | 8.7 | 94.8 | 60.1 | 39.1
4 | 2007-07-26 17:29 | 19.51 | 8.6 | 8.7 | 94.7 | 60.1 | 39
4 | 2007-07-26 17:30 | 19.51 | 8.62 | 8.7 | 94.8 | 60.1 | 39
4 | 2007-07-26 17:30 | 19.51 | 8.61 | 8.7 | 94.7 | 60.1 | 39
4 | 2007-07-26 17:30 | 19.51 | 8.61 | 8.7 | 94.8 | 60.1 | 39
4 | 2007-07-26 17:31 | 19.51 | 8.61 | 8.7 | 94.8 | 60.1 | 39
4 | 2007-07-26 17:31 | 19.51 | 8.61 | 8.7 | 94.8 | 60.1 | 39.1
4 | 2007-07-26 17:31 | 19.51 | 8.61 | 8.7 | 94.8 | 60.1 | 39
4 | 2007-07-26 17:31 | 19.51 | 8.6 | 8.7 | 94.8 | 60.1 | 39
4 | 2007-07-26 17:31 | 19.51 | 8.61 | 8.7 | 94.7 | 60.1 | 39
4 | 2007-07-26 17:32 | 19.51 | 8.61 | 8.69 | 94.7 | 60.1 | 39
4 | 2007-07-26 17:32 | 19.51 | 8.61 | 8.69 | 94.7 | 60.1 | 39
4 | 2007-07-26 17:32 | 19.51 | 8.62 | 8.69 | 94.6 | 60.1 | 39
4 | 2007-07-26 17:33 | 19.51 | 8.61 | 8.69 | 94.7 | 60.1 | 39.1
4 | 2007-07-26 17:33 | 19.51 | 8.61 | 8.69 | 94.7 | 60.1 | 39.1
4 | 2007-07-26 17:33 | 19.51 | 8.61 | 8.69 | 94.6 | 60.1 | 39
4 | 2007-07-26 17:33 | 19.51 | 8.6 | 8.69 | 94.7 | 60 | 39
4 | 2007-07-26 17:33 | 19.51 | 8.6 | 8.7 | 94.8 | 60 | 39
4 | 2007-07-26 17:34 | 19.51 | 8.61 | 8.7 | 94.7 | 60.1 | 39.1