## LETTER
February 5, 2008
Steve Prazak
City of Bend Water Quality Monitoring Program
575 NE 15th St.
Bend, OR 97701
RE: Deschutes River Ambient Water Quality Monitoring
Dear Steve Prazak
Enclosed are the results of analyses for sample(s) received by the laboratory on July 11, 2007. If you have any questions concerning this report, please feel free to contact me.
Sincerely,
Drexel Barnes For Steven J. Prazak
Laboratory Manager

## SUMMARY
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring |  | Sampled: | 7/10/07 to 7/24/07
575 NE 15th St. |  | Project Number: | [none] |  | Received: | 7/11/07
Bend, OR 97701 |  | Project Manager: | Steve Prazak |  | Reported: | 2/5/08 14:56
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
DR 160.00 DOWNSTREAM BOULDER FIELD | B7G1002-01 |  |  | Water |  |  | 7/10/07
DR 160.25 UPSTREAM TUMALO CREEK | B7G1002-02 |  |  | Water |  |  | 7/10/07
TC 000.25 MOUTH OF TUMALO CREEK | B7G1002-03 |  |  | Water |  |  | 7/10/07
TC 007.50 DOWNSTREAM 4606 ROAD | B7G1002-04 |  |  | Water |  |  | 7/11/07
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. | B7G1002-05 |  |  | Water |  |  | 7/11/07
DR 163.25 FIREROCK FOOTBRIDGE | B7G1002-06 |  |  | Water |  |  | 7/11/07
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B7G1002-07 |  |  | Water |  |  | 7/11/07
DR 165.75 FIRST STREET RAPIDS | B7G1002-08 |  |  | Water |  |  | 7/11/07
DR 166.75 DRAKE PARK FOOTBRIDGE | B7G1002-09 |  |  | Water |  |  | 7/10/07
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B7G1002-10 |  |  | Water |  |  | 7/10/07
DR 167.25 COLUMBIA PARK FOOTBRIDGE | B7G1002-11 |  |  | Water |  |  | 7/11/07
DR 168.00 COLUMBIA ST. BRIDGE | B7G1002-12 |  |  | Water |  |  | 7/11/07
DR 169.00 UPSTREAM END MILL LOG POND | B7G1002-13 |  |  | Water |  |  | 7/11/07
DR 172.00 SOUTHERN UGB | B7G1002-14 |  |  | Water |  |  | 7/10/07
FB FIELD BLANK | B7G1002-15 |  |  | Water |  |  | 7/10/07
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B7G1002-16 |  |  | Water |  |  | 7/24/07
DR166.75 DRAKE PARK FB DEQ SPLIT | B7G1002-17 |  |  | Water |  |  | 7/24/07
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes For Steven J. Prazak, Laboratory Manager | [7 empty] | Page 1 of 26

## SAMPLES
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  | Sampled: | 7/10/07 to 7/24/07
575 NE 15th St. |  |  | Project Number: | [none] |  |  | Received: | 7/11/07
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  | Reported: | 2/5/08 14:56
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7G1002-01 |  |  |  | Water
Turbidity | 7080606 | 7/10/07 |  | 7/10/07 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7G1002-02 |  |  |  | Water
Turbidity | 7080606 | 7/10/07 |  | 7/10/07 | EPA 180.1 | 0.40 | 2.1 |  | NTU
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7G1002-03 |  |  |  | Water
Turbidity | 7080606 | 7/10/07 |  | 7/10/07 | EPA 180.1 | 0.40 | 0.64 |  | NTU
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7G1002-04 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 0.96 |  | NTU
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7G1002-05 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 0.89 |  | NTU
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7G1002-06 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7G1002-07 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 2.3 |  | NTU
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7G1002-08 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7G1002-09 |  |  |  | Water
Turbidity | 7080606 | 7/10/07 |  | 7/10/07 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7G1002-10 |  |  |  | Water
Turbidity | 7080606 | 7/10/07 |  | 7/10/07 | EPA 180.1 | 0.40 | 1.9 |  | NTU
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7G1002-11 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 2.7 |  | NTU
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7G1002-12 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 2.0 |  | NTU
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7G1002-13 |  |  |  | Water
Turbidity | 7080606 | 7/11/07 |  | 7/11/07 | EPA 180.1 | 0.40 | 2.0 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 2 of 26
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB |  |  |  |  | B7G1002-14 |  |  |  | Water
Turbidity | 7080606 | 7/10/07 |  | 7/10/07 | EPA 180.1 | 0.40 | 2.6 |  | NTU
FB FIELD BLANK |  |  |  |  | B7G1002-15 |  |  |  | Water
Turbidity | 7080606 | 7/10/07 |  | 7/10/07 | EPA 180.1 | 0.40 | 0.11 |  | NTU | J
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7G1002-16 |  |  |  | Water
Turbidity | 7080606 | 7/24/07 |  | 7/24/07 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B7G1002-17 |  |  |  | Water
Turbidity | 7080606 | 7/24/07 |  | 7/24/07 | EPA 180.1 | 0.40 | 1.7 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 3 of 26
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7G1002-01 |  |  |  | Water
Coliform, total | 8011803 | 7/10/07 |  | 7/11/07 | SM 9223B | 1.00 | 1050 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 12.2 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7G1002-02 |  |  |  | Water
Coliform, total | 8011803 | 7/10/07 |  | 7/11/07 | SM 9223B | 1.00 | 1990 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 13.4 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7G1002-03 |  |  |  | Water
Coliform, total | 8011803 | 7/10/07 |  | 7/11/07 | SM 9223B | 1.00 | 299 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 48.8 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7G1002-04 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 96.0 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7G1002-05 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 61.3 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7G1002-06 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 34.5 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7G1002-07 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 980 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 10.9 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7G1002-08 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 1120 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7G1002-09 |  |  |  | Water
Coliform, total | 8011803 | 7/10/07 |  | 7/11/07 | SM 9223B | 1.00 | 687 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.60 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7G1002-10 |  |  |  | Water
Coliform, total | 8011803 | 7/10/07 |  | 7/11/07 | SM 9223B | 1.00 | 397 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 5.20 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 4 of 26
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7G1002-11 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 1050 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 5.20 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7G1002-12 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 1730 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 5.10 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7G1002-13 |  |  |  | Water
Coliform, total | 8011803 | 7/11/07 |  | 7/12/07 | SM 9223B | 1.00 | 1120 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 9.60 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B7G1002-14 |  |  |  | Water
Coliform, total | 8011803 | 7/10/07 |  | 7/11/07 | SM 9223B | 1.00 | 613 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
FB FIELD BLANK |  |  |  |  | B7G1002-15 |  |  |  | Water
Coliform, total | 8011803 | 7/10/07 |  | 7/11/07 | SM 9223B | 1.00 | ND |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7G1002-16 |  |  |  | Water
Coliform, total | 8011803 | 7/24/07 |  | 7/25/07 | SM 9223B | 1.00 | 921 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 7.50 |  | "
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B7G1002-17 |  |  |  | Water
Coliform, total | 8011803 | 7/24/07 |  | 7/25/07 | SM 9223B | 1.00 | 1120 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 9.70 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 5 of 26
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7G1002-01 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/10/07 |  | 7/10/07 | EPA 120.1 | 0.500 | 56.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.76 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.6 |  | °C
Ammonia as N | 7073002 | " |  | 7/31/07 | EPA 300 | 0.0290 | 0.0170 |  | mg/L | J
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.0650 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.699 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.351 |  | " | J
Dissolved Oxygen | 7080606 | " |  | 7/10/07 | EPA 360.1 | 1.00 | 8.91 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0700 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7G1002-02 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/10/07 |  | 7/10/07 | EPA 120.1 | 0.500 | 58.8 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.72 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.4 |  | °C
Ammonia as N | 7073002 | " |  | 7/31/07 | EPA 300 | 0.0290 | 0.0210 |  | mg/L | J
Fluoride | 7070908 | " |  | 7/10/07 | EPA 300.0 | 0.100 | 0.126 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.740 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | 0.152 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.446 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.76 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0730 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7G1002-03 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/10/07 |  | 7/10/07 | EPA 120.1 | 0.500 | 32.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.84 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 13.3 |  | °C
Ammonia as N | 7073002 | " |  | 7/31/07 | EPA 300 | 0.0290 | 0.0110 |  | mg/L | J
Fluoride | 7070908 | " |  | 7/10/07 | EPA 300.0 | 0.100 | 0.0920 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.291 |  | " | J
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.717 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 6 of 26
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 000.25 MOUTH OF TUMALO CREEK (continued) |  |  |  |  | B7G1002-03 |  |  |  | Water
Dissolved Oxygen | 7080606 | 7/10/07 |  | 7/10/07 | EPA 360.1 | 1.00 | 9.59 |  | mg/L
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0590 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7G1002-04 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 30.8 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.94 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 12.0 |  | °C
Ammonia as N | 7073002 | " |  | 7/31/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.0520 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.285 |  | " | J
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.790 |  | "
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 9.89 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0450 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7G1002-05 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 30.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.94 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 12.0 |  | °C
Ammonia as N | 7073002 | " |  | 7/31/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.0860 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.262 |  | " | J
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.768 |  | "
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 9.89 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0470 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7G1002-06 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 57.8 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.50 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.8 |  | °C
Ammonia as N | 7073002 | " |  | 7/31/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.107 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.675 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 7 of 26
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 163.25 FIREROCK FOOTBRIDGE (continued) |  |  |  |  | B7G1002-06 |  |  |  | Water
Nitrite as N | 7070908 | 7/11/07 |  | 7/11/07 | EPA 300.0 | 0.100 | ND |  | mg/L
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.301 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.43 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0850 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7G1002-07 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 58.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.56 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.3 |  | °C
Ammonia as N | 7073002 | " |  | 7/31/07 | EPA 300 | 0.0290 | 0.0570 |  | mg/L
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.105 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.683 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.321 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.59 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0710 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7G1002-08 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 58.3 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.48 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.0 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.0660 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.892 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.330 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.87 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0710 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7G1002-09 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/10/07 |  | 7/10/07 | EPA 120.1 | 0.500 | 58.3 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.09 |  | pH Units
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 8 of 26
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 166.75 DRAKE PARK FOOTBRIDGE (continued) |  |  |  |  | B7G1002-09 |  |  |  | Water
Temperature | 7080606 | 7/10/07 |  | 7/10/07 | EPA 170.1 | 0.0500 | 17.5 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/10/07 | EPA 300.0 | 0.100 | 0.127 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.730 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.336 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 9.49 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0670 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7G1002-10 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/10/07 |  | 7/10/07 | EPA 120.1 | 0.500 | 58.4 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.06 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.6 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/10/07 | EPA 300.0 | 0.100 | 0.103 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.660 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.310 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 9.57 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0670 |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7G1002-11 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 58.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.38 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.8 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | 0.0220 |  | mg/L | J
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.0730 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.736 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 5.90 |  | "
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.88 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0850 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 9 of 26
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7G1002-12 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 58.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.64 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.7 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | 0.0190 |  | mg/L | J
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.109 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.683 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.333 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.74 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0690 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7G1002-13 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/11/07 |  | 7/11/07 | EPA 120.1 | 0.500 | 57.8 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.24 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.6 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/11/07 | EPA 300.0 | 0.100 | 0.135 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.842 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.335 |  | " | J
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.87 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0680 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B7G1002-14 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/10/07 |  | 7/10/07 | EPA 120.1 | 0.500 | 54.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.74 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.5 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/10/07 | EPA 300.0 | 0.100 | 0.105 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.702 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.417 |  | " | J
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 10 of 26
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB (continued) |  |  |  |  | B7G1002-14 |  |  |  | Water
Dissolved Oxygen | 7080606 | 7/10/07 |  | 7/10/07 | EPA 360.1 | 1.00 | 9.22 |  | mg/L
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | 0.0750 |  | "
FB FIELD BLANK |  |  |  |  | B7G1002-15 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/10/07 |  | 7/10/07 | EPA 120.1 | 0.500 | ND |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 5.02 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 24.4 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7070908 | " |  | 7/10/07 | EPA 300.0 | 0.100 | ND |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 5.03 |  | "
Phosphorus-Total | 7072302 | 7/20/07 |  | 7/20/07 | EPA 365.3 | 0.0200 | ND |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7G1002-16 |  |  |  | Water
Specific Conductance (EC) | 7080606 | 7/24/07 |  | 7/24/07 | EPA 120.1 | 0.500 | 59.3 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.43 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 17.0 |  | °C
Ammonia as N | 7073002 | " |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7072401 | " |  | 7/24/07 | EPA 300.0 | 0.0250 | 0.131 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.117 | 0.780 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0270 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.00800 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0300 | 0.0330 |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.0700 | 0.395 |  | "
Dissolved Oxygen | 7080606 | " |  | " | EPA 360.1 | 1.00 | 8.28 |  | "
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B7G1002-17 |  |  |  | Water
Ammonia as N | 7073002 | 7/24/07 |  | 8/1/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7072401 | " |  | 7/24/07 | EPA 300.0 | 0.0250 | 0.0660 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.117 | 0.755 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0270 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.00800 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0300 | 0.0350 |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.0700 | 0.389 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 11 of 26

## QC
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  |  | Sampled: | 7/10/07 to 7/24/07
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  |  | Received: | 7/11/07
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  |  | Reported: | 2/5/08 14:56
Wet Chemistry/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7080606 | Date Prepared: 7/6/07 | [5 empty] | Extraction Method: NO PREP
Reference | 7080606-SRM1
Turbidity | 7/6/07 | 5.06 |  |  |  | 5.06 | NTU | 80-120 | 100
Reference | 7080606-SRM2
Turbidity | 7/6/07 | 45.2 |  |  |  | 45.3 | NTU | 80-120 | 100
Reference | 7080606-SRM3
Turbidity | 7/6/07 | 506 |  |  |  | 505 | NTU | 80-120 | 99.8
Reference | 7080606-SRM7
Turbidity | 7/11/07 | 5.06 |  |  |  | 5.05 | NTU | 80-120 | 99.8
Reference | 7080606-SRM8
Turbidity | 7/11/07 | 45.2 |  |  |  | 45.2 | NTU | 80-120 | 100
Reference | 7080606-SRM9
Turbidity | 7/11/07 | 506 |  |  |  | 505 | NTU | 80-120 | 99.8
Reference | 7080606-SRMD
Turbidity | 7/25/07 | 5.06 |  |  |  | 5.08 | NTU | 80-120 | 100
Reference | 7080606-SRME
Turbidity | 7/25/07 | 45.2 |  |  |  | 45.5 | NTU | 80-120 | 101
Reference | 7080606-SRMF
Turbidity | 7/25/07 | 506 |  |  |  | 504 | NTU | 80-120 | 99.6
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 12 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7070908 | Date Prepared: 7/9/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7070908-BLK1
Fluoride | 7/9/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLK2
Fluoride | 7/9/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLK3
Fluoride | 7/9/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLK4
Fluoride | 7/10/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLK5
Fluoride | 7/10/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 13 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 7070908-BLK5
Sulfate as SO4 | 7/10/07 |  |  |  |  | ND | mg/L | 0.500
Blank | 7070908-BLK6
Fluoride | 7/10/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLK7
Fluoride | 7/11/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLK8
Fluoride | 7/11/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLK9
Fluoride | 7/11/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLKA
Fluoride | 7/11/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 14 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 7070908-BLKA
Nitrate as N | 7/11/07 |  |  |  |  | ND | mg/L | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7070908-BLKB
Fluoride | 7/11/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
LCS | 7070908-BS1
Fluoride | 7/9/07 | 5.00 |  |  |  | 4.44 | mg/L | 80-120 | 88.8
Chloride | " | 5.00 |  |  |  | 4.19 | " | 80-120 | 83.8
Nitrite as N | " | 5.00 |  |  |  | 4.71 | " | 80-120 | 94.2
Nitrate as N | " | 5.00 |  |  |  | 4.52 | " | 80-120 | 90.4
Orthophosphate as P | " | 5.00 |  |  |  | 4.57 | " | 80-120 | 91.4
Sulfate as SO4 | " | 5.00 |  |  |  | 4.90 | " | 80-120 | 98.1
LCS | 7070908-BS2
Fluoride | 7/11/07 | 5.00 |  |  |  | 4.42 | mg/L | 80-120 | 88.5
Chloride | " | 5.00 |  |  |  | 4.14 | " | 80-120 | 82.7
Nitrite as N | " | 5.00 |  |  |  | 4.55 | " | 80-120 | 91.1
Nitrate as N | " | 5.00 |  |  |  | 4.47 | " | 80-120 | 89.4
Orthophosphate as P | " | 5.00 |  |  |  | 4.53 | " | 80-120 | 90.7
Sulfate as SO4 | " | 5.00 |  |  |  | 4.90 | " | 80-120 | 97.9
Calibration Check | 7070908-CCV1
Fluoride | 7/9/07 | 1.00 |  |  |  | 0.810 | mg/L | 80-120 | 81.0
Chloride | " | 1.00 |  |  |  | 0.818 | " | 80-120 | 81.8
Nitrite as N | " | 1.00 |  |  |  | 0.854 | " | 80-120 | 85.4
Nitrate as N | " | 1.00 |  |  |  | 0.896 | " | 80-120 | 89.6
Orthophosphate as P | " | 1.00 |  |  |  | 0.821 | " | 80-120 | 82.1
Sulfate as SO4 | " | 1.00 |  |  |  | 0.959 | " | 80-120 | 95.9
Calibration Check | 7070908-CCV2
Fluoride | 7/9/07 | 5.00 |  |  |  | 4.65 | mg/L | 80-120 | 93.0
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 15 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Calibration Check (continued) | 7070908-CCV2
Chloride | 7/9/07 | 5.00 |  |  |  | 4.40 | mg/L | 80-120 | 87.9
Nitrite as N | " | 5.00 |  |  |  | 4.99 | " | 80-120 | 99.8
Nitrate as N | " | 5.00 |  |  |  | 4.60 | " | 80-120 | 91.9
Orthophosphate as P | " | 5.00 |  |  |  | 4.64 | " | 80-120 | 92.9
Sulfate as SO4 | " | 5.00 |  |  |  | 4.86 | " | 80-120 | 97.3
Duplicate | 7070908-DUP1 |  |  |  | B7G1002-13
Fluoride | 7/11/07 |  |  |  | 0.135 | 0.113 | mg/L |  |  |  | 10 | 17.7 | A-01a
Chloride | " |  |  |  | 0.842 | 0.704 | " |  |  |  | 10 | 17.9 | A-01a
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.335 | 0.334 | " |  |  |  | 10 | 0.299 | J
Duplicate | 7070908-DUP3 |  |  |  | B7G1002-07
Fluoride | 7/11/07 |  |  |  | 0.105 | 0.107 | mg/L |  |  |  | 10 | 1.89
Chloride | " |  |  |  | 0.683 | 0.680 | " |  |  |  | 10 | 0.440
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.321 | 0.298 | " |  |  |  | 10 | 7.43 | J
Post Spike | 7070908-PS1 |  |  |  | B7G0902-02
Fluoride | 7/10/07 | 2.50 |  |  | 0.0475 | 2.36 | mg/L | 80-120 | 92.7
Chloride | " | 2.50 |  |  | 0.155 | 2.43 | " | 80-120 | 91.0
Nitrite as N | " | 2.50 |  |  | ND | 2.42 | " | 80-120 | 96.6
Nitrate as N | " | 2.50 |  |  | 0.0760 | 2.31 | " | 80-120 | 89.4
Orthophosphate as P | " | 2.50 |  |  | 0.0200 | 2.35 | " | 80-120 | 93.0
Sulfate as SO4 | " | 2.50 |  |  | 0.338 | 2.80 | " | 80-120 | 98.6
Post Spike | 7070908-PS2 |  |  |  | B7G1002-02
Fluoride | 7/10/07 | 2.50 |  |  | 0.0630 | 2.21 | mg/L | 80-120 | 85.8
Chloride | " | 2.50 |  |  | 0.370 | 2.49 | " | 80-120 | 84.8
Nitrite as N | " | 2.50 |  |  | ND | 2.30 | " | 80-120 | 91.9
Nitrate as N | " | 2.50 |  |  | 0.0760 | 2.26 | " | 80-120 | 87.2
Orthophosphate as P | " | 2.50 |  |  | 0.00550 | 2.35 | " | 80-120 | 93.7
Sulfate as SO4 | " | 2.50 |  |  | 0.223 | 2.50 | " | 80-120 | 91.0
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 16 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Post Spike | 7070908-PS3 |  |  |  | B7G1002-07
Fluoride | 7/11/07 | 2.50 |  |  | 0.0525 | 2.26 | mg/L | 80-120 | 88.3
Chloride | " | 2.50 |  |  | 0.342 | 2.43 | " | 80-120 | 83.4
Nitrite as N | " | 2.50 |  |  | ND | 2.30 | " | 80-120 | 92.0
Nitrate as N | " | 2.50 |  |  | ND | 2.25 | " | 80-120 | 90.1
Orthophosphate as P | " | 2.50 |  |  | 0.00750 | 2.30 | " | 80-120 | 91.7
Sulfate as SO4 | " | 2.50 |  |  | 0.160 | 2.58 | " | 80-120 | 96.9
Reference | 7070908-SRM1
Fluoride | 7/9/07 | 1.00 |  |  |  | 0.878 | mg/L | 80-120 | 87.8
Chloride | " | 1.00 |  |  |  | 0.927 | " | 80-120 | 92.7
Nitrite as N | " | 1.00 |  |  |  | 0.985 | " | 80-120 | 98.5
Nitrate as N | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
Orthophosphate as P | " | 1.00 |  |  |  | 0.913 | " | 80-120 | 91.3
Sulfate as SO4 | " | 1.00 |  |  |  | 0.997 | " | 80-120 | 99.7
Reference | 7070908-SRM2
Fluoride | 7/9/07 | 5.00 |  |  |  | 4.55 | mg/L | 80-120 | 91.0
Chloride | " | 20.0 |  |  |  | 19.1 | " | 80-120 | 95.5
Nitrite as N | " | 0.250 |  |  |  | 0.253 | " | 80-120 | 101
Nitrate as N | " | 5.00 |  |  |  | 4.42 | " | 80-120 | 88.4
Orthophosphate as P | " | 5.00 |  |  |  | 4.54 | " | 80-120 | 90.8
Sulfate as SO4 | " | 20.0 |  |  |  | 19.8 | " | 80-120 | 98.8
Reference | 7070908-SRM3
Fluoride | 7/10/07 | 1.00 |  |  |  | 0.801 | mg/L | 80-120 | 80.1
Chloride | " | 1.00 |  |  |  | 0.798 | " | 80-120 | 79.8 |  |  |  | QM-01
Nitrite as N | " | 1.00 |  |  |  | 0.868 | " | 80-120 | 86.8
Nitrate as N | " | 1.00 |  |  |  | 0.882 | " | 80-120 | 88.2
Orthophosphate as P | " | 1.00 |  |  |  | 0.827 | " | 80-120 | 82.7
Sulfate as SO4 | " | 1.00 |  |  |  | 0.931 | " | 80-120 | 93.1
Reference | 7070908-SRM4
Fluoride | 7/10/07 | 5.00 |  |  |  | 4.54 | mg/L | 80-120 | 90.8
Chloride | " | 20.0 |  |  |  | 18.9 | " | 80-120 | 94.5
Nitrite as N | " | 0.250 |  |  |  | 0.207 | " | 80-120 | 82.8
Nitrate as N | " | 5.00 |  |  |  | 4.41 | " | 80-120 | 88.2
Orthophosphate as P | " | 5.00 |  |  |  | 4.51 | " | 80-120 | 90.1
Sulfate as SO4 | " | 20.0 |  |  |  | 19.7 | " | 80-120 | 98.4
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 17 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 7070908-SRM5
Fluoride | 7/11/07 | 1.00 |  |  |  | 0.865 | mg/L | 80-120 | 86.5
Chloride | " | 1.00 |  |  |  | 0.885 | " | 80-120 | 88.5
Nitrite as N | " | 1.00 |  |  |  | 0.922 | " | 80-120 | 92.2
Nitrate as N | " | 1.00 |  |  |  | 0.938 | " | 80-120 | 93.8
Orthophosphate as P | " | 1.00 |  |  |  | 0.876 | " | 80-120 | 87.6
Sulfate as SO4 | " | 1.00 |  |  |  | 0.982 | " | 80-120 | 98.2
Reference | 7070908-SRM6
Fluoride | 7/11/07 | 5.00 |  |  |  | 4.65 | mg/L | 80-120 | 92.9
Chloride | " | 20.0 |  |  |  | 19.2 | " | 80-120 | 96.2
Nitrite as N | " | 0.250 |  |  |  | 0.253 | " | 80-120 | 101
Nitrate as N | " | 5.00 |  |  |  | 4.45 | " | 80-120 | 89.0
Orthophosphate as P | " | 5.00 |  |  |  | 4.57 | " | 80-120 | 91.3
Sulfate as SO4 | " | 20.0 |  |  |  | 19.9 | " | 80-120 | 99.3
Reference | 7070908-SRM7
Fluoride | 7/11/07 | 1.00 |  |  |  | 0.863 | mg/L | 80-120 | 86.3
Chloride | " | 1.00 |  |  |  | 0.868 | " | 80-120 | 86.8
Nitrite as N | " | 1.00 |  |  |  | 0.946 | " | 80-120 | 94.6
Nitrate as N | " | 1.00 |  |  |  | 0.921 | " | 80-120 | 92.1
Orthophosphate as P | " | 1.00 |  |  |  | 0.863 | " | 80-120 | 86.3
Sulfate as SO4 | " | 1.00 |  |  |  | 0.949 | " | 80-120 | 94.9
Reference | 7070908-SRM8
Fluoride | 7/11/07 | 5.00 |  |  |  | 4.54 | mg/L | 80-120 | 90.9
Chloride | " | 20.0 |  |  |  | 19.0 | " | 80-120 | 94.9
Nitrite as N | " | 0.250 |  |  |  | 0.243 | " | 80-120 | 97.2
Nitrate as N | " | 5.00 |  |  |  | 4.42 | " | 80-120 | 88.3
Orthophosphate as P | " | 5.00 |  |  |  | 4.50 | " | 80-120 | 90.0
Sulfate as SO4 | " | 20.0 |  |  |  | 19.7 | " | 80-120 | 98.3
Batch: 7072302 | Date Prepared: 7/20/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7072302-BLK1
Phosphorus-Total | 7/20/07 |  |  |  |  | ND | mg/L | 0.0200
Blank | 7072302-BLK2
Phosphorus-Total | 7/20/07 |  |  |  |  | ND | mg/L | 0.0200
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 18 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank | 7072302-BLK3
Phosphorus-Total | 7/20/07 |  |  |  |  | ND | mg/L | 0.0200
LCS | 7072302-BS1
Phosphorus-Total | 7/20/07 | 1.00 |  |  |  | 0.946 | mg/L | 80-120 | 94.6
LCS | 7072302-BS2
Phosphorus-Total | 7/20/07 | 1.00 |  |  |  | 1.16 | mg/L | 80-120 | 116
LCS | 7072302-BS3
Phosphorus-Total | 7/20/07 | 1.00 |  |  |  | 0.959 | mg/L | 80-120 | 95.9
Duplicate | 7072302-DUP1 |  |  |  | B7G1002-01 | [7 empty] | QR-01
Phosphorus-Total | 7/20/07 |  |  |  | 0.0700 | 0.104 | mg/L |  |  |  | 20 | 39.1
Duplicate | 7072302-DUP2 |  |  |  | B7G1002-12
Phosphorus-Total | 7/20/07 |  |  |  | 0.0690 | 0.0590 | mg/L |  |  |  | 20 | 15.6
Duplicate | 7072302-DUP3 |  |  |  | B7G1003-01
Phosphorus-Total | 7/20/07 |  |  |  | 5.11 | 4.21 | mg/L |  |  |  | 20 | 19.3
Duplicate | 7072302-DUP4 |  |  |  | B7G1003-02
Phosphorus-Total | 7/20/07 |  |  |  | 5.30 | 4.71 | mg/L |  |  |  | 20 | 11.8
Matrix Spike | 7072302-MS1 |  |  |  | B7G1002-02
Phosphorus-Total | 7/20/07 | 1.00 |  |  | 0.0730 | 1.14 | mg/L | 80-120 | 107
Matrix Spike | 7072302-MS2 |  |  |  | B7G1002-13
Phosphorus-Total | 7/20/07 | 1.00 |  |  | 0.0680 | 1.24 | mg/L | 80-120 | 117
Reference | 7072302-SRM1
Phosphorus-Total | 7/20/07 | 3.29 |  |  |  | 3.01 | mg/L | 80-120 | 91.5
Reference | 7072302-SRM3
Phosphorus-Total | 7/20/07 | 3.29 |  |  |  | 3.17 | mg/L | 80-120 | 96.4
Batch: 7072401 | Date Prepared: 7/24/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7072401-BLK1
Fluoride | 7/24/07 |  |  |  |  | ND | mg/L | 0.0250
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 19 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 7072401-BLK1
Chloride | 7/24/07 |  |  |  |  | ND | mg/L | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
Blank | 7072401-BLK2
Fluoride | 7/24/07 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
Blank | 7072401-BLK3
Fluoride | 7/24/07 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
Blank | 7072401-BLK4
Fluoride | 7/24/07 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
Blank | 7072401-BLK5
Fluoride | 7/26/07 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 20 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank | 7072401-BLK6
Fluoride | 7/26/07 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
Blank | 7072401-BLK7
Fluoride | 7/26/07 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
Blank | 7072401-BLK8
Fluoride | 7/26/07 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.117
Nitrite as N | " |  |  |  |  | ND | " | 0.0270
Nitrate as N | " |  |  |  |  | ND | " | 0.00800
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.0700
LCS | 7072401-BS1
Fluoride | 7/24/07 | 5.00 |  |  |  | 4.60 | mg/L | 80-120 | 92.1
Chloride | " | 5.00 |  |  |  | 4.46 | " | 80-120 | 89.2
Nitrite as N | " | 5.00 |  |  |  | 4.75 | " | 80-120 | 95.0
Nitrate as N | " | 5.00 |  |  |  | 4.71 | " | 80-120 | 94.1
Orthophosphate as P | " | 5.00 |  |  |  | 4.87 | " | 80-120 | 97.3
Sulfate as SO4 | " | 5.00 |  |  |  | 5.00 | " | 80-120 | 100
Duplicate | 7072401-DUP1 |  |  |  | B7G1002-16
Fluoride | 7/24/07 |  |  |  | 0.131 | 0.138 | mg/L |  |  |  | 10 | 5.20
Chloride | " |  |  |  | 0.780 | 0.815 | " |  |  |  | 10 | 4.39
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | 0.0330 | 0.0240 | " |  |  |  | 10 | 31.6 | A-01, J
Sulfate as SO4 | " |  |  |  | 0.395 | 0.390 | " |  |  |  | 10 | 1.27
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 21 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Post Spike | 7072401-PS1 |  |  |  | B7G1002-17
Fluoride | 7/24/07 | 2.50 |  |  | 0.0330 | 2.26 | mg/L | 80-120 | 89.0
Chloride | " | 2.50 |  |  | 0.378 | 2.46 | " | 80-120 | 83.3
Nitrite as N | " | 2.50 |  |  | ND | 2.28 | " | 80-120 | 91.2
Nitrate as N | " | 2.50 |  |  | ND | 2.29 | " | 80-120 | 91.4
Orthophosphate as P | " | 2.50 |  |  | 0.0175 | 2.41 | " | 80-120 | 95.8
Sulfate as SO4 | " | 2.50 |  |  | 0.194 | 2.60 | " | 80-120 | 96.4
Reference | 7072401-SRM1
Fluoride | 7/24/07 | 1.00 |  |  |  | 0.874 | mg/L | 80-120 | 87.4
Chloride | " | 1.00 |  |  |  | 0.851 | " | 80-120 | 85.1
Nitrite as N | " | 1.00 |  |  |  | 0.943 | " | 80-120 | 94.3
Nitrate as N | " | 1.00 |  |  |  | 0.958 | " | 80-120 | 95.8
Orthophosphate as P | " | 1.00 |  |  |  | 0.944 | " | 80-120 | 94.4
Sulfate as SO4 | " | 1.00 |  |  |  | 0.997 | " | 80-120 | 99.7
Reference | 7072401-SRM2
Fluoride | 7/24/07 | 5.00 |  |  |  | 4.73 | mg/L | 80-120 | 94.6
Chloride | " | 20.0 |  |  |  | 19.7 | " | 80-120 | 98.3
Nitrite as N | " | 0.250 |  |  |  | 0.216 | " | 80-120 | 86.4
Nitrate as N | " | 5.00 |  |  |  | 4.66 | " | 80-120 | 93.1
Orthophosphate as P | " | 5.00 |  |  |  | 4.86 | " | 80-120 | 97.2
Sulfate as SO4 | " | 20.0 |  |  |  | 20.5 | " | 80-120 | 102
Reference | 7072401-SRM3
Fluoride | 7/26/07 | 1.00 |  |  |  | 0.874 | mg/L | 80-120 | 87.4
Chloride | " | 1.00 |  |  |  | 0.874 | " | 80-120 | 87.4
Nitrite as N | " | 1.00 |  |  |  | 0.962 | " | 80-120 | 96.2
Nitrate as N | " | 1.00 |  |  |  | 0.933 | " | 80-120 | 93.3
Orthophosphate as P | " | 1.00 |  |  |  | 0.945 | " | 80-120 | 94.5
Sulfate as SO4 | " | 1.00 |  |  |  | 0.971 | " | 80-120 | 97.1
Reference | 7072401-SRM4
Fluoride | 7/26/07 | 5.00 |  |  |  | 4.64 | mg/L | 80-120 | 92.9
Chloride | " | 20.0 |  |  |  | 19.3 | " | 80-120 | 96.6
Nitrite as N | " | 0.250 |  |  |  | 0.209 | " | 80-120 | 83.6
Nitrate as N | " | 5.00 |  |  |  | 4.58 | " | 80-120 | 91.6
Orthophosphate as P | " | 5.00 |  |  |  | 4.78 | " | 80-120 | 95.5
Sulfate as SO4 | " | 20.0 |  |  |  | 20.1 | " | 80-120 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 22 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7073002 | Date Prepared: 7/31/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7073002-BLK1
Ammonia as N | 7/31/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK2
Ammonia as N | 7/31/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK3
Ammonia as N | 7/31/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK4
Ammonia as N | 7/31/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK5
Ammonia as N | 8/1/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK6
Ammonia as N | 8/1/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK7
Ammonia as N | 8/1/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK8
Ammonia as N | 8/1/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7073002-BLK9
Ammonia as N | 8/1/07 |  |  |  |  | ND | mg/L | 0.0290
LCS | 7073002-BS1
Ammonia as N | 7/31/07 | 10.0 |  |  |  | 8.84 | mg/L | 80-120 | 88.4
LCS | 7073002-BS2
Ammonia as N | 8/1/07 | 10.0 |  |  |  | 9.48 | mg/L | 80-120 | 94.8
Calibration Check | 7073002-CCV1
Ammonia as N | 7/31/07 | 1.00 |  |  |  | 1.10 | mg/L | 80-120 | 110
Calibration Check | 7073002-CCV2
Ammonia as N | 7/31/07 | 2.00 |  |  |  | 2.02 | mg/L | 80-120 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 23 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Duplicate | 7073002-DUP1 |  |  |  | B7G0902-01
Ammonia as N | 7/31/07 |  |  |  | 0.114 | ND | mg/L |  |  |  | 10
Duplicate | 7073002-DUP2 |  |  |  | B7G1002-06
Ammonia as N | 7/31/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 7073002-DUP3 |  |  |  | B7G1002-16
Ammonia as N | 8/1/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Post Spike | 7073002-PS1 |  |  |  | B7G0902-02
Ammonia as N | 7/31/07 | 5.00 |  |  | ND | 4.67 | mg/L | 80-120 | 93.5
Post Spike | 7073002-PS2 |  |  |  | B7G1002-07
Ammonia as N | 8/1/07 | 5.00 |  |  | 0.0285 | 4.75 | mg/L | 80-120 | 94.4
Post Spike | 7073002-PS3 |  |  |  | B7G1002-17
Ammonia as N | 8/1/07 | 5.00 |  |  | ND | 4.44 | mg/L | 80-120 | 88.8
Reference | 7073002-SRM1
Ammonia as N | 7/31/07 | 2.00 |  |  |  | 2.14 | mg/L | 80-120 | 107
Reference | 7073002-SRM2
Ammonia as N | 7/31/07 | 5.00 |  |  |  | 4.84 | mg/L | 80-120 | 96.8
Reference | 7073002-SRM3
Ammonia as N | 8/1/07 | 2.00 |  |  |  | 2.09 | mg/L | 80-120 | 104
Reference | 7073002-SRM4
Ammonia as N | 8/1/07 | 5.00 |  |  |  | 4.60 | mg/L | 80-120 | 92.0
Reference | 7073002-SRM5
Ammonia as N | 8/1/07 | 2.00 |  |  |  | 2.09 | mg/L | 80-120 | 104
Reference | 7073002-SRM6
Ammonia as N | 8/1/07 | 5.00 |  |  |  | 4.72 | mg/L | 80-120 | 94.4
Reference | 7073002-SRM7
Ammonia as N | 8/1/07 | 2.00 |  |  |  | 2.19 | mg/L | 80-120 | 110
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 24 of 26
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 7073002-SRM8
Ammonia as N | 8/1/07 | 5.00 |  |  |  | 4.92 | mg/L | 80-120 | 98.4
Batch: 7080606 | Date Prepared: 7/6/07 | [5 empty] | Extraction Method: NO PREP
Reference | 7080606-SRM4
Temperature | 7/6/07 | 18.4 |  |  |  | 18.4 | °C | 97-103 | 100
Dissolved Oxygen | " | 8.30 |  |  |  | 8.24 | mg/L | 88-112 | 99.3
Reference | 7080606-SRM5
Specific Conductance (EC) | 7/6/07 | 142 |  |  |  | 145 | umhos/cm | 85-115 | 102
Reference | 7080606-SRM6
pH | 7/6/07 | 7.02 |  |  |  | 7.05 | pH Units | 93-107 | 100
Reference | 7080606-SRMA
Temperature | 7/11/07 | 18.2 |  |  |  | 18.2 | °C | 97-103 | 99.9
Dissolved Oxygen | " | 8.70 |  |  |  | 8.92 | mg/L | 88-112 | 103
Reference | 7080606-SRMB
Specific Conductance (EC) | 7/11/07 | 142 |  |  |  | 144 | umhos/cm | 85-115 | 101
Reference | 7080606-SRMC
pH | 7/11/07 | 7.02 |  |  |  | 7.07 | pH Units | 93-107 | 101
Reference | 7080606-SRMG
Temperature | 7/25/07 | 19.4 |  |  |  | 19.4 | °C | 97-103 | 100
Dissolved Oxygen | " | 8.10 |  |  |  | 8.21 | mg/L | 88-112 | 101
Reference | 7080606-SRMH
Specific Conductance (EC) | 7/25/07 | 142 |  |  |  | 148 | umhos/cm | 85-115 | 104
Reference | 7080606-SRMI
pH | 7/25/07 | 7.02 |  |  |  | 7.09 | pH Units | 93-107 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 25 of 26

## NOTES
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring | Sampled: | 7/10/07 to 7/24/07
575 NE 15th St. |  | Project Number: | [none] | Received: | 7/11/07
Bend, OR 97701 |  | Project Manager: | Steve Prazak | Reported: | 2/5/08 14:56
Notes and Definitions
# | Note
A-01 | Both sample & DUP O-PO4 values are below MRL. Results are qualatative
A-01a | Initial result close to MRL. Duplicate RPD out of limit. Result accepted based on other QC within limits.
J | Detected but below the Reporting Limit; therefore, result is an estimated concentration (CLP J-Flag).
QM-01 | The spike recovery for this QC sample is outside of established control limits due to sample matrix interference.
QR-01 | Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted
based on LCS and/or LCSD QC results.
DET | Analyte DETECTED
ND | Analyte NOT DETECTED at or above the reporting limit
NR | Not Reported
dry | Sample results reported on a dry weight basis
Recov. | Recovery
RPD | Relative Percent Difference
City of Bend Water Quality Laboratory
Page 26 of 26

## EXCEPTIONS
Report Exceptions List
(for internal use only)
Exception | Analysis or Specific Method | Lab Number | Analyte or General Method
J-Flags used | Anions By Ion Chromatography |  | (Water)
Result calculations based on MDL | Anions By Ion Chromatography |  | (Water)
A-01a: Initial result close to MRL. Duplicate RPD out of limit. Result accepted based on other QC within limits. | Anions By Ion Chromatography | 7070908-DUP1 | Chloride
Exceeds RPD control limit | Anions By Ion Chromatography | 7070908-DUP1 | Chloride
A-01a (A-01a) | Anions By Ion Chromatography | 7070908-DUP1 | Chloride
Exceeds lower control limit | Anions By Ion Chromatography | 7070908-SRM3 | Chloride
QM-01: The spike recovery for this QC sample is outside of established control limits due to sample matrix interference. | Anions By Ion Chromatography | 7070908-SRM3 | Chloride
QM-01 (QM-01) | Anions By Ion Chromatography | 7070908-SRM3 | Chloride
J (J) | Anions By Ion Chromatography | B7G1002-03 | Chloride
J (J) | Anions By Ion Chromatography | B7G1002-04 | Chloride
J (J) | Anions By Ion Chromatography | B7G1002-05 | Chloride
A-01a: Initial result close to MRL. Duplicate RPD out of limit. Result accepted based on other QC within limits. | Anions By Ion Chromatography | 7070908-DUP1 | Fluoride
Exceeds RPD control limit | Anions By Ion Chromatography | 7070908-DUP1 | Fluoride
A-01a (A-01a) | Anions By Ion Chromatography | 7070908-DUP1 | Fluoride
J (J) | Anions By Ion Chromatography | B7G1002-01 | Fluoride
J (J) | Anions By Ion Chromatography | B7G1002-03 | Fluoride
J (J) | Anions By Ion Chromatography | B7G1002-04 | Fluoride
J (J) | Anions By Ion Chromatography | B7G1002-05 | Fluoride
J (J) | Anions By Ion Chromatography | B7G1002-08 | Fluoride
J (J) | Anions By Ion Chromatography | B7G1002-11 | Fluoride
J (J) | Anions By Ion Chromatography | B7G1002-02 | Nitrate as N
A-01: Both sample & DUP O-PO4 values are below MRL. Results are qualatative | Anions By Ion Chromatography | 7072401-DUP1 | Orthophosphate as P
Exceeds RPD control limit | Anions By Ion Chromatography | 7072401-DUP1 | Orthophosphate as P
A-01 (A-01) | Anions By Ion Chromatography | 7072401-DUP1 | Orthophosphate as P
J (J) | Anions By Ion Chromatography | 7072401-DUP1 | Orthophosphate as P
J (J) | Anions By Ion Chromatography | 7070908-DUP1 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | 7070908-DUP3 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-01 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-02 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-06 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-07 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-08 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-09 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-10 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-12 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-13 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7G1002-14 | Sulfate as SO4
Result calculations based on MDL | Coliform, Fecal as E.coli (QT2K) |  | (Water)
Result calculations based on MDL | Coliforms, Total (QT2K) |  | (Water)
J-Flags used | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, Ammonia by EPA 300 |  | (Water)
J (J) | Nitrogen, Ammonia by EPA 300 | B7G1002-01 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B7G1002-02 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B7G1002-03 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B7G1002-11 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B7G1002-12 | Ammonia as N
Result calculations based on MDL | Oxygen, Dissolved by EPA 360.1 |  | (Water)
Result calculations based on MDL | pH by EPA 150.1 |  | (Water)
Result calculations based on MDL | Phosphorous by EPA 365.3 |  | (Water)
RPD calculations based on %Recovery | Phosphorous by EPA 365.3 |  | (Water)
Exceeds RPD control limit | Phosphorous by EPA 365.3 | 7072302-DUP1 | Phosphorus-Total
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Phosphorous by EPA 365.3 | 7072302-DUP1
QR-01 (QR-01) | Phosphorous by EPA 365.3 | 7072302-DUP1
Result calculations based on MDL | Temperature by EPA 170.1 |  | (Water)
J-Flags used | Turbidity by EPA 180.1 |  | (Water)
Result calculations based on MDL | Turbidity by EPA 180.1 |  | (Water)
RPD calculations based on %Recovery | Turbidity by EPA 180.1 |  | (Water)
J (J) | Turbidity by EPA 180.1 | B7G1002-15 | Turbidity
Default Report (not modified)
Report recreated from: \\192.168.22.3\LIMS_Reports\B7G1002 FINAL 05 Feb 08 1456.mdb
VERSION 5.85:2834