## LETTER
February 5, 2008
Steve Prazak
City of Bend Water Quality Monitoring Program
575 NE 15th St.
Bend, OR 97701
RE: Deschutes River Ambient Water Quality Monitoring
Dear Steve Prazak
Enclosed are the results of analyses for sample(s) received by the laboratory on April 18, 2007. If you have any questions concerning this report, please feel free to contact me.
Sincerely,
Drexel Barnes For Steven J. Prazak
Laboratory Manager

## SUMMARY
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring |  | Sampled: | 4/17/07 to 4/18/07
575 NE 15th St. |  | Project Number: | [none] |  | Received: | 4/18/07
Bend, OR 97701 |  | Project Manager: | Steve Prazak |  | Reported: | 2/5/08 15:09
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
DR 160.00 DOWNSTREAM BOULDER FIELD | B7D1701-01 |  |  | Water |  |  | 4/17/07
DR 160.25 UPSTREAM TUMALO CREEK | B7D1701-02 |  |  | Water |  |  | 4/17/07
TC 000.25 MOUTH OF TUMALO CREEK | B7D1701-03 |  |  | Water |  |  | 4/17/07
TC 007.50 DOWNSTREAM 4606 ROAD | B7D1701-04 |  |  | Water |  |  | 4/18/07
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. | B7D1701-05 |  |  | Water |  |  | 4/18/07
DR 163.25 FIREROCK FOOTBRIDGE | B7D1701-06 |  |  | Water |  |  | 4/18/07
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B7D1701-07 |  |  | Water |  |  | 4/18/07
DR 165.75 FIRST STREET RAPIDS | B7D1701-08 |  |  | Water |  |  | 4/18/07
DR 166.75 DRAKE PARK FOOTBRIDGE | B7D1701-09 |  |  | Water |  |  | 4/18/07
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B7D1701-10 |  |  | Water |  |  | 4/18/07
DR 167.25 COLUMBIA PARK FOOTBRIDGE | B7D1701-11 |  |  | Water |  |  | 4/18/07
DR 168.00 COLUMBIA ST. BRIDGE | B7D1701-12 |  |  | Water |  |  | 4/18/07
DR 169.00 UPSTREAM END MILL LOG POND | B7D1701-13 |  |  | Water |  |  | 4/18/07
DR 172.00 SOUTHERN UGB | B7D1701-14 |  |  | Water |  |  | 4/17/07
FB FIELD BLANK | B7D1701-15 |  |  | Water |  |  | 4/18/07
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes For Steven J. Prazak, Laboratory Manager | [7 empty] | Page 1 of 20

## SAMPLES
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  | Sampled: | 4/17/07 to 4/18/07
575 NE 15th St. |  |  | Project Number: | [none] |  |  | Received: | 4/18/07
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  | Reported: | 2/5/08 15:09
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7D1701-01 |  |  |  | Water
Turbidity | 7042603 | 4/17/07 |  | 4/17/07 | EPA 180.1 | 0.40 | 2.4 |  | NTU
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7D1701-02 |  |  |  | Water
Turbidity | 7042603 | 4/17/07 |  | 4/17/07 | EPA 180.1 | 0.40 | 1.6 |  | NTU
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7D1701-03 |  |  |  | Water
Turbidity | 7042603 | 4/17/07 |  | 4/17/07 | EPA 180.1 | 0.40 | 0.88 |  | NTU
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7D1701-04 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 0.35 |  | NTU | J
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7D1701-05 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 0.40 |  | NTU
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7D1701-06 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 2.7 |  | NTU
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7D1701-07 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 3.4 |  | NTU
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7D1701-08 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 4.2 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7D1701-09 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 3.2 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7D1701-10 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 3.3 |  | NTU
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7D1701-11 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 3.8 |  | NTU
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7D1701-12 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 3.0 |  | NTU
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7D1701-13 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | 3.0 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 2 of 20
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB |  |  |  |  | B7D1701-14 |  |  |  | Water
Turbidity | 7042603 | 4/17/07 |  | 4/17/07 | EPA 180.1 | 0.40 | 3.2 |  | NTU
FB FIELD BLANK |  |  |  |  | B7D1701-15 |  |  |  | Water
Turbidity | 7042603 | 4/18/07 |  | 4/18/07 | EPA 180.1 | 0.40 | ND |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 3 of 20
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7D1701-01 |  |  |  | Water
Coliform, total | 8011702 | 4/17/07 |  | 4/18/07 | SM 9223B | 1.00 | 461 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7D1701-02 |  |  |  | Water
Coliform, total | 8011702 | 4/17/07 |  | 4/18/07 | SM 9223B | 1.00 | 248 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7D1701-03 |  |  |  | Water
Coliform, total | 8011702 | 4/17/07 |  | 4/18/07 | SM 9223B | 1.00 | 16.9 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7D1701-04 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 9.60 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7D1701-05 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 10.8 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7D1701-06 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 291 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7D1701-07 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 238 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 5.20 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7D1701-08 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 249 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7D1701-09 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 166 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7D1701-10 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 162 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 4 of 20
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7D1701-11 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 166 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7D1701-12 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 145 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7D1701-13 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | 172 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B7D1701-14 |  |  |  | Water
Coliform, total | 8011702 | 4/17/07 |  | 4/18/07 | SM 9223B | 1.00 | 98.7 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
FB FIELD BLANK |  |  |  |  | B7D1701-15 |  |  |  | Water
Coliform, total | 8011702 | 4/18/07 |  | 4/19/07 | SM 9223B | 1.00 | ND |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 5 of 20
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7D1701-01 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/17/07 |  | 4/17/07 | EPA 120.1 | 0.500 | 55.3 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.94 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 8.00 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.0720 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 1.31 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.829 |  | "
Dissolved Oxygen | 7042603 | " |  | 4/17/07 | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0520 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7D1701-02 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/17/07 |  | 4/17/07 | EPA 120.1 | 0.500 | 59.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.71 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 8.86 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.0860 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.986 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.751 |  | "
Dissolved Oxygen | 7042603 | " |  | 4/17/07 | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0470 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7D1701-03 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/17/07 |  | 4/17/07 | EPA 120.1 | 0.500 | 37.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.49 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 4.96 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.0640 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.396 |  | " | J
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.962 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 6 of 20
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 000.25 MOUTH OF TUMALO CREEK (continued) |  |  |  |  | B7D1701-03 |  |  |  | Water
Dissolved Oxygen | 7042603 | 4/17/07 |  | 4/17/07 | EPA 360.1 | 1.00 | 13.1 |  | mg/L
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0300 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7D1701-04 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 37.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.82 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 3.48 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.100 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.369 |  | " | J
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.405 |  | " | J
Dissolved Oxygen | 7042603 | " |  | " | EPA 360.1 | 1.00 | 13.8 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0280 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7D1701-05 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 37.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.79 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 3.49 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.0680 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.371 |  | " | J
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.418 |  | " | J
Dissolved Oxygen | 7042603 | " |  | " | EPA 360.1 | 1.00 | 13.8 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0230 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7D1701-06 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 60.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.22 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.35 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.115 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 1.04 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 7 of 20
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 163.25 FIREROCK FOOTBRIDGE (continued) |  |  |  |  | B7D1701-06 |  |  |  | Water
Nitrite as N | 7041901 | 4/18/07 |  | 4/18/07 | EPA 300.0 | 0.100 | ND |  | mg/L
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.602 |  | "
Dissolved Oxygen | 7042603 | " |  | " | EPA 360.1 | 1.00 | 12.6 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0460 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7D1701-07 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 59.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.42 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.86 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.0610 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 1.29 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.650 |  | "
Dissolved Oxygen | 7042603 | " |  | " | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0490 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7D1701-08 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 59.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.55 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 8.32 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.0540 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 1.07 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.614 |  | "
Dissolved Oxygen | 7042603 | " |  | " | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0560 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7D1701-09 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 60.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.60 |  | pH Units
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 8 of 20
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 166.75 DRAKE PARK FOOTBRIDGE (continued) |  |  |  |  | B7D1701-09 |  |  |  | Water
Temperature | 7042603 | 4/18/07 |  | 4/18/07 | EPA 170.1 | 0.0500 | 8.48 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/18/07 | EPA 300.0 | 0.100 | 0.112 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.994 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.808 |  | "
Dissolved Oxygen | 7042603 | " |  | " | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0630 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7D1701-10 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 60.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.56 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 8.50 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/19/07 | EPA 300.0 | 0.100 | 0.124 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.985 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.714 |  | "
Dissolved Oxygen | 7042603 | " |  | 4/18/07 | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0530 |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7D1701-11 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 60.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.51 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 8.67 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/19/07 | EPA 300.0 | 0.100 | 0.121 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.983 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.623 |  | "
Dissolved Oxygen | 7042603 | " |  | 4/18/07 | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0510 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 9 of 20
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7D1701-12 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 60.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.66 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 9.01 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/19/07 | EPA 300.0 | 0.100 | 0.0980 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.962 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.605 |  | "
Dissolved Oxygen | 7042603 | " |  | 4/18/07 | EPA 360.1 | 1.00 | 11.7 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0530 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7D1701-13 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | 60.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.72 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 8.71 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/19/07 | EPA 300.0 | 0.100 | 0.128 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 1.01 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.644 |  | "
Dissolved Oxygen | 7042603 | " |  | 4/18/07 | EPA 360.1 | 1.00 | 11.8 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0550 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B7D1701-14 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/17/07 |  | 4/17/07 | EPA 120.1 | 0.500 | 60.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.58 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 9.39 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/19/07 | EPA 300.0 | 0.100 | 0.0930 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.500 | 0.966 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | 0.596 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 10 of 20
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB (continued) |  |  |  |  | B7D1701-14 |  |  |  | Water
Dissolved Oxygen | 7042603 | 4/17/07 |  | 4/17/07 | EPA 360.1 | 1.00 | 11.5 |  | mg/L
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | 0.0550 |  | "
FB FIELD BLANK |  |  |  |  | B7D1701-15 |  |  |  | Water
Specific Conductance (EC) | 7042603 | 4/18/07 |  | 4/18/07 | EPA 120.1 | 0.500 | ND |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 6.02 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 21.7 |  | °C
Ammonia as N | 7042501 | " |  | 4/26/07 | EPA 300 | 0.0282 | ND |  | mg/L
Fluoride | 7041901 | " |  | 4/19/07 | EPA 300.0 | 0.100 | ND |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.100 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.300 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.500 | ND |  | "
Dissolved Oxygen | 7042603 | " |  | 4/18/07 | EPA 360.1 | 1.00 | 4.29 |  | "
Phosphorus-Total | 7042001 | 4/20/07 |  | 5/2/07 | EPA 365.3 | 0.0200 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 11 of 20

## QC
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  |  | Sampled: | 4/17/07 to 4/18/07
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  |  | Received: | 4/18/07
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  |  | Reported: | 2/5/08 15:09
Wet Chemistry/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7042603 | Date Prepared: 4/3/07 | [5 empty] | Extraction Method: NO PREP
Reference | 7042603-SRM5
Turbidity | 4/3/07 | 5.06 |  |  |  | 5.12 | NTU | 80-120 | 101
Reference | 7042603-SRM6
Turbidity | 4/3/07 | 45.2 |  |  |  | 45.7 | NTU | 80-120 | 101
Reference | 7042603-SRM7
Turbidity | 4/3/07 | 506 |  |  |  | 507 | NTU | 80-120 | 100
Reference | 7042603-SRMC
Turbidity | 4/16/07 | 5.06 |  |  |  | 5.11 | NTU | 80-120 | 101
Reference | 7042603-SRMD
Turbidity | 4/16/07 | 45.2 |  |  |  | 45.6 | NTU | 80-120 | 101
Reference | 7042603-SRME
Turbidity | 4/16/07 | 506 |  |  |  | 506 | NTU | 80-120 | 100
Reference | 7042603-SRMJ
Turbidity | 4/25/07 | 5.06 |  |  |  | 5.04 | NTU | 80-120 | 99.6
Reference | 7042603-SRMK
Turbidity | 4/25/07 | 45.2 |  |  |  | 45.1 | NTU | 80-120 | 99.8
Reference | 7042603-SRML
Turbidity | 4/25/07 | 506 |  |  |  | 504 | NTU | 80-120 | 99.6
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 12 of 20
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7041901 | Date Prepared: 4/18/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7041901-BLK1
Fluoride | 4/18/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7041901-BLK2
Fluoride | 4/18/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7041901-BLK3
Fluoride | 4/18/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7041901-BLK4
Fluoride | 4/19/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.500
Blank | 7041901-BLK5
Fluoride | 4/19/07 |  |  |  |  | ND | mg/L | 0.100
Chloride | " |  |  |  |  | ND | " | 0.500
Nitrite as N | " |  |  |  |  | ND | " | 0.100
Nitrate as N | " |  |  |  |  | ND | " | 0.500
Orthophosphate as P | " |  |  |  |  | ND | " | 0.300
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 13 of 20
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 7041901-BLK5
Sulfate as SO4 | 4/19/07 |  |  |  |  | ND | mg/L | 0.500
LCS | 7041901-BS1
Fluoride | 4/19/07 | 5.00 |  |  |  | 4.75 | mg/L | 80-120 | 95.0
Chloride | " | 5.00 |  |  |  | 4.39 | " | 80-120 | 87.8
Nitrite as N | " | 5.00 |  |  |  | 4.97 | " | 80-120 | 99.4
Nitrate as N | " | 5.00 |  |  |  | 4.94 | " | 80-120 | 98.8
Orthophosphate as P | " | 5.00 |  |  |  | 4.80 | " | 80-120 | 96.0
Sulfate as SO4 | " | 5.00 |  |  |  | 5.03 | " | 80-120 | 101
Calibration Check | 7041901-CCV1
Fluoride | 4/18/07 | 1.00 |  |  |  | 0.909 | mg/L | 80-120 | 90.9
Chloride | " | 1.00 |  |  |  | 0.860 | " | 80-120 | 86.0
Nitrite as N | " | 1.00 |  |  |  | 0.975 | " | 80-120 | 97.5
Nitrate as N | " | 1.00 |  |  |  | 0.951 | " | 80-120 | 95.1
Orthophosphate as P | " | 1.00 |  |  |  | 0.942 | " | 80-120 | 94.2
Sulfate as SO4 | " | 1.00 |  |  |  | 1.03 | " | 80-120 | 103
Calibration Check | 7041901-CCV2
Fluoride | 4/18/07 | 5.00 |  |  |  | 4.97 | mg/L | 80-120 | 99.5
Chloride | " | 5.00 |  |  |  | 4.50 | " | 80-120 | 89.9
Nitrite as N | " | 5.00 |  |  |  | 5.14 | " | 80-120 | 103
Nitrate as N | " | 5.00 |  |  |  | 5.06 | " | 80-120 | 101
Orthophosphate as P | " | 5.00 |  |  |  | 4.87 | " | 80-120 | 97.5
Sulfate as SO4 | " | 5.00 |  |  |  | 5.09 | " | 80-120 | 102
Duplicate | 7041901-DUP1 |  |  |  | B7D1701-03
Fluoride | 4/18/07 |  |  |  | 0.0640 | 0.0590 | mg/L |  |  |  | 10 | 8.13 | J
Chloride | " |  |  |  | 0.396 | 0.373 | " |  |  |  | 10 | 5.98 | J
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.962 | 0.415 | " |  |  |  | 10 | 79.4 | A-01a, J
Duplicate | 7041901-DUP2 |  |  |  | B7D1701-11
Fluoride | 4/19/07 |  |  |  | 0.121 | 0.120 | mg/L |  |  |  | 10 | 0.830
Chloride | " |  |  |  | 0.983 | 0.955 | " |  |  |  | 10 | 2.89
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 14 of 20
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Duplicate (continued) | 7041901-DUP2 |  |  |  | B7D1701-11
Nitrate as N | 4/19/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.623 | 0.601 | " |  |  |  | 10 | 3.59
Post Spike | 7041901-PS1 |  |  |  | B7D1701-04
Fluoride | 4/18/07 | 2.50 |  |  | 0.0500 | 2.33 | mg/L | 80-120 | 91.1
Chloride | " | 2.50 |  |  | 0.184 | 2.39 | " | 80-120 | 88.1
Nitrite as N | " | 2.50 |  |  | ND | 2.47 | " | 80-120 | 98.7
Nitrate as N | " | 2.50 |  |  | ND | 2.45 | " | 80-120 | 98.1
Orthophosphate as P | " | 2.50 |  |  | 0.00750 | 2.39 | " | 80-120 | 95.5
Sulfate as SO4 | " | 2.50 |  |  | 0.202 | 2.73 | " | 80-120 | 101
Post Spike | 7041901-PS2 |  |  |  | B7D1701-12
Fluoride | 4/19/07 | 2.50 |  |  | 0.0490 | 2.42 | mg/L | 80-120 | 95.0
Chloride | " | 2.50 |  |  | 0.481 | 2.67 | " | 80-120 | 87.6
Nitrite as N | " | 2.50 |  |  | ND | 2.49 | " | 80-120 | 99.6
Nitrate as N | " | 2.50 |  |  | 0.0100 | 2.48 | " | 80-120 | 98.8
Orthophosphate as P | " | 2.50 |  |  | 0.0245 | 2.40 | " | 80-120 | 95.1
Sulfate as SO4 | " | 2.50 |  |  | 0.302 | 2.98 | " | 80-120 | 107
Reference | 7041901-SRM1
Fluoride | 4/19/07 | 1.00 |  |  |  | 0.893 | mg/L | 80-120 | 89.3
Chloride | " | 1.00 |  |  |  | 0.891 | " | 80-120 | 89.1
Nitrite as N | " | 1.00 |  |  |  | 0.992 | " | 80-120 | 99.2
Nitrate as N | " | 1.00 |  |  |  | 0.936 | " | 80-120 | 93.6
Orthophosphate as P | " | 1.00 |  |  |  | 0.904 | " | 80-120 | 90.4
Sulfate as SO4 | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
Reference | 7041901-SRM2
Fluoride | 4/19/07 | 5.00 |  |  |  | 4.88 | mg/L | 80-120 | 97.5
Chloride | " | 20.0 |  |  |  | 19.9 | " | 80-120 | 99.5
Nitrite as N | " | 0.250 |  |  |  | 0.259 | " | 80-120 | 104
Nitrate as N | " | 5.00 |  |  |  | 4.92 | " | 80-120 | 98.4
Orthophosphate as P | " | 5.00 |  |  |  | 4.73 | " | 80-120 | 94.5
Sulfate as SO4 | " | 20.0 |  |  |  | 20.4 | " | 80-120 | 102
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 15 of 20
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7042001 | Date Prepared: 4/20/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7042001-BLK1
Phosphorus-Total | 5/2/07 |  |  |  |  | ND | mg/L | 0.0200
Blank | 7042001-BLK2
Phosphorus-Total | 5/2/07 |  |  |  |  | ND | mg/L | 0.0200
Blank | 7042001-BLK3
Phosphorus-Total | 5/2/07 |  |  |  |  | ND | mg/L | 0.0200
LCS | 7042001-BS1
Phosphorus-Total | 5/2/07 | 1.00 |  |  |  | 0.989 | mg/L | 80-120 | 98.9
LCS | 7042001-BS2
Phosphorus-Total | 5/2/07 | 1.00 |  |  |  | 0.920 | mg/L | 80-120 | 92.0
LCS | 7042001-BS3
Phosphorus-Total | 5/2/07 | 1.00 |  |  |  | 0.928 | mg/L | 80-120 | 92.8
Duplicate | 7042001-DUP1 |  |  |  | B7D0901-01
Phosphorus-Total | 5/2/07 |  |  |  | 0.0550 | 0.0540 | mg/L |  |  |  | 20 | 1.83
Duplicate | 7042001-DUP2 |  |  |  | B7D1001-01
Phosphorus-Total | 5/2/07 |  |  |  | 2.47 | 2.42 | mg/L |  |  |  | 20 | 2.04
Duplicate | 7042001-DUP3 |  |  |  | B7D1701-01
Phosphorus-Total | 5/2/07 |  |  |  | 0.0520 | 0.0480 | mg/L |  |  |  | 20 | 8.00
Matrix Spike | 7042001-MS1 |  |  |  | B7D0901-02
Phosphorus-Total | 5/2/07 | 1.00 |  |  | 0.0510 | 0.780 | mg/L | 80-120 | 72.9 |  |  |  | QM-07
Matrix Spike | 7042001-MS2 |  |  |  | B7D1001-02
Phosphorus-Total | 5/2/07 | 1.00 |  |  | 2.29 | 3.00 | mg/L | 80-120 | 71.0 |  |  |  | QM-07
Matrix Spike | 7042001-MS3 |  |  |  | B7D1701-02
Phosphorus-Total | 5/2/07 | 1.00 |  |  | 0.0470 | 0.830 | mg/L | 80-120 | 78.3 |  |  |  | QM-07
Reference | 7042001-SRM1
Phosphorus-Total | 5/2/07 | 3.29 |  |  |  | 3.10 | mg/L | 80-120 | 94.2
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 16 of 20
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 7042001-SRM2
Phosphorus-Total | 5/2/07 | 3.29 |  |  |  | 3.20 | mg/L | 80-120 | 97.3
Reference | 7042001-SRM3
Phosphorus-Total | 5/2/07 | 3.29 |  |  |  | 3.17 | mg/L | 80-120 | 96.4
Batch: 7042501 | Date Prepared: 4/25/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7042501-BLK1
Ammonia as N | 4/25/07 |  |  |  |  | ND | mg/L | 0.0282
Blank | 7042501-BLK2
Ammonia as N | 4/25/07 |  |  |  |  | ND | mg/L | 0.0282
Blank | 7042501-BLK3
Ammonia as N | 4/25/07 |  |  |  |  | ND | mg/L | 0.0282
Blank | 7042501-BLK4
Ammonia as N | 4/25/07 |  |  |  |  | ND | mg/L | 0.0282
Blank | 7042501-BLK5
Ammonia as N | 4/26/07 |  |  |  |  | ND | mg/L | 0.0282
Blank | 7042501-BLK6
Ammonia as N | 4/26/07 |  |  |  |  | ND | mg/L | 0.0282
Blank | 7042501-BLK7
Ammonia as N | 4/26/07 |  |  |  |  | ND | mg/L | 0.0282
LCS | 7042501-BS1
Ammonia as N | 4/25/07 | 10.0 |  |  |  | 9.32 | mg/L | 80-120 | 93.2
LCS | 7042501-BS2
Ammonia as N | 4/26/07 | 10.0 |  |  |  | 9.53 | mg/L | 80-120 | 95.3
Calibration Check | 7042501-CCV1
Ammonia as N | 4/25/07 | 1.00 |  |  |  | 1.11 | mg/L | 80-120 | 111
Calibration Check | 7042501-CCV2
Ammonia as N | 4/25/07 | 2.00 |  |  |  | 2.11 | mg/L | 80-120 | 106
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 17 of 20
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Calibration Check | 7042501-CCV3
Ammonia as N | 4/25/07 | 10.0 |  |  |  | 10.2 | mg/L | 80-120 | 102
Duplicate | 7042501-DUP1 |  |  |  | B7D0901-01
Ammonia as N | 4/25/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 7042501-DUP2 |  |  |  | B7D1701-01
Ammonia as N | 4/26/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 7042501-DUP3 |  |  |  | B7D1701-07
Ammonia as N | 4/26/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Post Spike | 7042501-PS1 |  |  |  | B7D0901-02
Ammonia as N | 4/25/07 | 5.00 |  |  | ND | 4.83 | mg/L | 80-120 | 96.6
Post Spike | 7042501-PS2 |  |  |  | B7D1701-02
Ammonia as N | 4/26/07 | 5.00 |  |  | ND | 4.71 | mg/L | 80-120 | 94.3
Post Spike | 7042501-PS3 |  |  |  | B7D1701-08
Ammonia as N | 4/26/07 | 5.00 |  |  | ND | 4.78 | mg/L | 80-120 | 95.7
Reference | 7042501-SRM1
Ammonia as N | 4/25/07 | 2.00 |  |  |  | 2.14 | mg/L | 80-120 | 107
Reference | 7042501-SRM2
Ammonia as N | 4/25/07 | 5.00 |  |  |  | 4.82 | mg/L | 80-120 | 96.4
Reference | 7042501-SRM3
Ammonia as N | 4/26/07 | 2.00 |  |  |  | 2.14 | mg/L | 80-120 | 107
Reference | 7042501-SRM4
Ammonia as N | 4/26/07 | 5.00 |  |  |  | 4.82 | mg/L | 80-120 | 96.5
Reference | 7042501-SRM5
Ammonia as N | 4/26/07 | 2.00 |  |  |  | 2.14 | mg/L | 80-120 | 107
Reference | 7042501-SRM6
Ammonia as N | 4/26/07 | 5.00 |  |  |  | 4.87 | mg/L | 80-120 | 97.4
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 18 of 20
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7042603 | Date Prepared: 4/2/07 | [5 empty] | Extraction Method: NO PREP
Reference | 7042603-SRM1
pH | 4/2/07 | 7.02 |  |  |  | 7.00 | pH Units | 93-107 | 99.7
Reference | 7042603-SRM2
Specific Conductance (EC) | 4/2/07 | 149 |  |  |  | 144 | umhos/cm | 85-115 | 96.6
Reference | 7042603-SRM3
Temperature | 4/2/07 | 9.69 |  |  |  | 9.71 | °C | 95-105 | 100
Dissolved Oxygen | " | 8.90 |  |  |  | 10.0 | mg/L | 89-111 | 113 |  |  |  | A-01
Reference | 7042603-SRM4
Dissolved Oxygen | 4/3/07 | 9.50 |  |  |  | 10.3 | mg/L | 89-111 | 109
Reference | 7042603-SRM8
pH | 4/16/07 | 7.02 |  |  |  | 7.05 | pH Units | 93-107 | 100
Reference | 7042603-SRM9
Specific Conductance (EC) | 4/16/07 | 149 |  |  |  | 145 | umhos/cm | 85-115 | 97.3
Reference | 7042603-SRMA
Temperature | 4/16/07 | 11.6 |  |  |  | 11.6 | °C | 96-104 | 100
Dissolved Oxygen | " | 9.40 |  |  |  | 9.81 | mg/L | 89-111 | 104
Reference | 7042603-SRMF
pH | 4/25/07 | 7.02 |  |  |  | 7.05 | pH Units | 93-107 | 100
Reference | 7042603-SRMG
Specific Conductance (EC) | 4/25/07 | 143 |  |  |  | 147 | umhos/cm | 85-115 | 103
Reference | 7042603-SRMH
Temperature | 4/25/07 | 10.1 |  |  |  | 10.0 | °C | 95-105 | 99.5
Dissolved Oxygen | " | 9.50 |  |  |  | 9.88 | mg/L | 89-111 | 104
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 19 of 20

## NOTES
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring | Sampled: | 4/17/07 to 4/18/07
575 NE 15th St. |  | Project Number: | [none] | Received: | 4/18/07
Bend, OR 97701 |  | Project Manager: | Steve Prazak | Reported: | 2/5/08 15:09
Notes and Definitions
# | Note
A-01 | Re-audited (and passed audit) MPS 556 on 04-03-07 Before sampling
A-01a | Value of both original & DUP are to close to the MRL to correctly quantify
J | Detected but below the Reporting Limit; therefore, result is an estimated concentration (CLP J-Flag).
QM-07 | The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery.
DET | Analyte DETECTED
ND | Analyte NOT DETECTED at or above the reporting limit
NR | Not Reported
dry | Sample results reported on a dry weight basis
Recov. | Recovery
RPD | Relative Percent Difference
City of Bend Water Quality Laboratory
Page 20 of 20

## EXCEPTIONS
Report Exceptions List
(for internal use only)
Exception | Analysis or Specific Method | Lab Number | Analyte or General Method
J-Flags used | Anions By Ion Chromatography |  | (Water)
Result calculations based on MDL | Anions By Ion Chromatography |  | (Water)
J (J) | Anions By Ion Chromatography | 7041901-DUP1 | Chloride
J (J) | Anions By Ion Chromatography | B7D1701-03 | Chloride
J (J) | Anions By Ion Chromatography | B7D1701-04 | Chloride
J (J) | Anions By Ion Chromatography | B7D1701-05 | Chloride
J (J) | Anions By Ion Chromatography | 7041901-DUP1 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-01 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-02 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-03 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-05 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-07 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-08 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-12 | Fluoride
J (J) | Anions By Ion Chromatography | B7D1701-14 | Fluoride
A-01a: Value of both original & DUP are to close to the MRL to correctly quantify | Anions By Ion Chromatography | 7041901-DUP1 | Sulfate as SO4
Exceeds RPD control limit | Anions By Ion Chromatography | 7041901-DUP1 | Sulfate as SO4
A-01a (A-01a) | Anions By Ion Chromatography | 7041901-DUP1 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | 7041901-DUP1 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7D1701-04 | Sulfate as SO4
J (J) | Anions By Ion Chromatography | B7D1701-05 | Sulfate as SO4
Result calculations based on MDL | Coliform, Fecal as E.coli (QT2K) |  | (Water)
Result calculations based on MDL | Coliforms, Total (QT2K) |  | (Water)
J-Flags used | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Oxygen, Dissolved by EPA 360.1 |  | (Water)
A-01: Re-audited (and passed audit) MPS 556 on 04-03-07 Before sampling | Oxygen, Dissolved by EPA 360.1 | 7042603-SRM3 | Dissolved Oxygen
Exceeds upper control limit | Oxygen, Dissolved by EPA 360.1 | 7042603-SRM3 | Dissolved Oxygen
A-01 (A-01) | Oxygen, Dissolved by EPA 360.1 | 7042603-SRM3 | Dissolved Oxygen
Result calculations based on MDL | pH by EPA 150.1 |  | (Water)
Result calculations based on MDL | Phosphorous by EPA 365.3 |  | (Water)
RPD calculations based on %Recovery | Phosphorous by EPA 365.3 |  | (Water)
Exceeds lower control limit | Phosphorous by EPA 365.3 | 7042001-MS1 | Phosphorus-Total
QM-07: The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery. | Phosphorous by EPA 365.3 | 7042001-MS1 | Phosphorus-Total
QM-07 (QM-07) | Phosphorous by EPA 365.3 | 7042001-MS1 | Phosphorus-Total
Exceeds lower control limit | Phosphorous by EPA 365.3 | 7042001-MS2 | Phosphorus-Total
QM-07: The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery. | Phosphorous by EPA 365.3 | 7042001-MS2 | Phosphorus-Total
QM-07 (QM-07) | Phosphorous by EPA 365.3 | 7042001-MS2 | Phosphorus-Total
Exceeds lower control limit | Phosphorous by EPA 365.3 | 7042001-MS3 | Phosphorus-Total
QM-07: The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery. | Phosphorous by EPA 365.3 | 7042001-MS3 | Phosphorus-Total
QM-07 (QM-07) | Phosphorous by EPA 365.3 | 7042001-MS3 | Phosphorus-Total
Result calculations based on MDL | Temperature by EPA 170.1 |  | (Water)
J-Flags used | Turbidity by EPA 180.1 |  | (Water)
Result calculations based on MDL | Turbidity by EPA 180.1 |  | (Water)
RPD calculations based on %Recovery | Turbidity by EPA 180.1 |  | (Water)
J (J) | Turbidity by EPA 180.1 | B7D1701-04 | Turbidity
Default Report (not modified)
Report recreated from: \\192.168.22.3\LIMS_Reports\B7D1701 FINAL 05 Feb 08 1509.mdb
VERSION 5.85:2834