## LETTER
February 5, 2008
Steve Prazak
City of Bend Water Quality Monitoring Program
575 NE 15th St.
Bend, OR 97701
RE: Deschutes River Ambient Water Quality Monitoring
Dear Steve Prazak
Enclosed are the results of analyses for sample(s) received by the laboratory on August 8, 2007. If you have any questions concerning this report, please feel free to contact me.
Sincerely,
Drexel Barnes For Steven J. Prazak
Laboratory Manager

## SUMMARY
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring |  | Sampled: | 8/7/07 to 8/8/07
575 NE 15th St. |  | Project Number: | [none] |  | Received: | 8/8/07
Bend, OR 97701 |  | Project Manager: | Steve Prazak |  | Reported: | 2/5/08 14:39
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
DR 160.00 DOWNSTREAM BOULDER FIELD | B7H0703-01 |  |  | Water |  |  | 8/7/07
DR 160.25 UPSTREAM TUMALO CREEK | B7H0703-02 |  |  | Water |  |  | 8/7/07
TC 000.25 MOUTH OF TUMALO CREEK | B7H0703-03 |  |  | Water |  |  | 8/7/07
TC 007.50 DOWNSTREAM 4606 ROAD | B7H0703-04 |  |  | Water |  |  | 8/8/07
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. | B7H0703-05 |  |  | Water |  |  | 8/8/07
DR 163.25 FIREROCK FOOTBRIDGE | B7H0703-06 |  |  | Water |  |  | 8/8/07
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B7H0703-07 |  |  | Water |  |  | 8/8/07
DR 165.75 FIRST STREET RAPIDS | B7H0703-08 |  |  | Water |  |  | 8/8/07
DR 166.75 DRAKE PARK FOOTBRIDGE | B7H0703-09 |  |  | Water |  |  | 8/7/07
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B7H0703-10 |  |  | Water |  |  | 8/7/07
DR 167.25 COLUMBIA PARK FOOTBRIDGE | B7H0703-11 |  |  | Water |  |  | 8/8/07
DR 168.00 COLUMBIA ST. BRIDGE | B7H0703-12 |  |  | Water |  |  | 8/8/07
DR 169.00 UPSTREAM END MILL LOG POND | B7H0703-13 |  |  | Water |  |  | 8/8/07
DR 172.00 SOUTHERN UGB | B7H0703-14 |  |  | Water |  |  | 8/7/07
FB FIELD BLANK | B7H0703-15 |  |  | Water |  |  | 8/8/07
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes For Steven J. Prazak, Laboratory Manager | [7 empty] | Page 1 of 22

## SAMPLES
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  | Sampled: | 8/7/07 to 8/8/07
575 NE 15th St. |  |  | Project Number: | [none] |  |  | Received: | 8/8/07
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  | Reported: | 2/5/08 14:39
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7H0703-01 |  |  |  | Water
Turbidity | 7082805 | 8/7/07 |  | 8/7/07 | EPA 180.1 | 0.40 | 1.7 |  | NTU
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7H0703-02 |  |  |  | Water
Turbidity | 7082805 | 8/7/07 |  | 8/7/07 | EPA 180.1 | 0.40 | 1.9 |  | NTU
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7H0703-03 |  |  |  | Water
Turbidity | 7082805 | 8/7/07 |  | 8/7/07 | EPA 180.1 | 0.40 | 0.82 |  | NTU
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7H0703-04 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 0.43 |  | NTU
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7H0703-05 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 0.42 |  | NTU
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7H0703-06 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 2.1 |  | NTU
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7H0703-07 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 2.3 |  | NTU
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7H0703-08 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 2.4 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7H0703-09 |  |  |  | Water
Turbidity | 7082805 | 8/7/07 |  | 8/7/07 | EPA 180.1 | 0.40 | 2.9 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7H0703-10 |  |  |  | Water
Turbidity | 7082805 | 8/7/07 |  | 8/7/07 | EPA 180.1 | 0.40 | 2.9 |  | NTU
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7H0703-11 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 2.4 |  | NTU
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7H0703-12 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 2.2 |  | NTU
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7H0703-13 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 2.6 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 2 of 22
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB |  |  |  |  | B7H0703-14 |  |  |  | Water
Turbidity | 7082805 | 8/7/07 |  | 8/7/07 | EPA 180.1 | 0.40 | 2.2 |  | NTU
FB FIELD BLANK |  |  |  |  | B7H0703-15 |  |  |  | Water
Turbidity | 7082805 | 8/8/07 |  | 8/8/07 | EPA 180.1 | 0.40 | 0.10 |  | NTU | J
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 3 of 22
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7H0703-01 |  |  |  | Water
Coliform, total | 8011804 | 8/7/07 |  | 8/8/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 9.80 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7H0703-02 |  |  |  | Water
Coliform, total | 8011804 | 8/7/07 |  | 8/8/07 | SM 9223B | 1.00 | 1990 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7H0703-03 |  |  |  | Water
Coliform, total | 8011804 | 8/7/07 |  | 8/8/07 | SM 9223B | 1.00 | 249 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 21.1 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7H0703-04 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 225 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.00 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7H0703-05 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 201 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 4.10 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7H0703-06 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7H0703-07 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 9.70 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7H0703-08 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 7.50 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7H0703-09 |  |  |  | Water
Coliform, total | 8011804 | 8/7/07 |  | 8/8/07 | SM 9223B | 1.00 | 613 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.60 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7H0703-10 |  |  |  | Water
Coliform, total | 8011804 | 8/7/07 |  | 8/8/07 | SM 9223B | 1.00 | 649 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 7.20 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 4 of 22
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7H0703-11 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.40 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7H0703-12 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 7.50 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7H0703-13 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | 2420 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.50 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B7H0703-14 |  |  |  | Water
Coliform, total | 8011804 | 8/7/07 |  | 8/8/07 | SM 9223B | 1.00 | 1050 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 5.20 |  | "
FB FIELD BLANK |  |  |  |  | B7H0703-15 |  |  |  | Water
Coliform, total | 8011804 | 8/8/07 |  | 8/9/07 | SM 9223B | 1.00 | ND |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 5 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B7H0703-01 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/7/07 |  | 8/7/07 | EPA 120.1 | 0.500 | 57.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.68 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 14.9 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | 0.0230 |  | mg/L | J
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.133 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.814 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | 0.113 |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.816 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/7/07 |  | 8/7/07 | EPA 360.1 | 1.00 | 9.84 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0630 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B7H0703-02 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/7/07 |  | 8/7/07 | EPA 120.1 | 0.500 | 59.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.59 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 15.2 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.103 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.742 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | 0.112 |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.327 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/7/07 |  | 8/7/07 | EPA 360.1 | 1.00 | 9.50 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0560 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B7H0703-03 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/7/07 |  | 8/7/07 | EPA 120.1 | 0.500 | 39.5 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.25 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 10.3 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.109 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.358 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 6 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 000.25 MOUTH OF TUMALO CREEK (continued) |  |  |  |  | B7H0703-03 |  |  |  | Water
Orthophosphate as P | 7080803 | 8/7/07 |  | 8/8/07 | EPA 300.0 | 0.0940 | ND |  | mg/L
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.636 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/7/07 |  | 8/7/07 | EPA 360.1 | 1.00 | 10.8 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0330 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B7H0703-04 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 39.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.26 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 10.3 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.102 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.356 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.647 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 11.0 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0350 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B7H0703-05 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 39.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.26 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 10.3 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.111 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.379 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.643 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 11.0 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0370 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B7H0703-06 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 58.7 |  | umhos/cm
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 7 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 163.25 FIREROCK FOOTBRIDGE (continued) |  |  |  |  | B7H0703-06 |  |  |  | Water
pH | 7082805 | 8/8/07 |  | 8/8/07 | EPA 150.1 |  | 7.64 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.3 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.107 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.717 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | 0.0370 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.320 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 9.22 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0600 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B7H0703-07 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 59.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.70 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 15.9 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.104 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.722 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | 0.111 |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | 0.0300 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.342 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | 0.270 |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 9.36 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0600 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B7H0703-08 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 59.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.74 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 15.8 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.102 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.711 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 8 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 165.75 FIRST STREET RAPIDS (continued) |  |  |  |  | B7H0703-08 |  |  |  | Water
Sulfate as SO4 | 7080803 | 8/8/07 |  | 8/8/07 | EPA 300.0 | 0.132 | 0.348 |  | mg/L
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 9.42 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0870 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B7H0703-09 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/7/07 |  | 8/7/07 | EPA 120.1 | 0.500 | 59.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.14 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.6 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.124 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.790 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.345 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | 0.320 |  | "
Dissolved Oxygen | 7082805 | 8/7/07 |  | 8/7/07 | EPA 360.1 | 1.00 | 10.0 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0610 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B7H0703-10 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/7/07 |  | 8/7/07 | EPA 120.1 | 0.500 | 59.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.14 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.7 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.114 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.744 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | 0.0320 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.355 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | 0.380 |  | "
Dissolved Oxygen | 7082805 | 8/7/07 |  | 8/7/07 | EPA 360.1 | 1.00 | 10.0 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0870 |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B7H0703-11 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 59.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.59 |  | pH Units
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 9 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 167.25 COLUMBIA PARK FOOTBRIDGE (continued) |  |  |  |  | B7H0703-11 |  |  |  | Water
Temperature | 7082805 | 8/8/07 |  | 8/8/07 | EPA 170.1 | 0.0500 | 15.5 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/8/07 | EPA 300.0 | 0.0900 | 0.0710 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.707 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.355 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 9.61 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0660 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B7H0703-12 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 58.8 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.75 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 15.4 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/9/07 | EPA 300.0 | 0.0900 | 0.111 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.728 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | 0.0350 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.366 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | 0.250 |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 9.55 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0610 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B7H0703-13 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | 59.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.78 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 15.3 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/9/07 | EPA 300.0 | 0.0900 | 0.0700 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.713 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | 0.112 |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | 0.0280 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 0.347 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 10 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 169.00 UPSTREAM END MILL LOG POND (continued) |  |  |  |  | B7H0703-13 |  |  |  | Water
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | ND |  | mg/L
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 9.28 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0630 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B7H0703-14 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/7/07 |  | 8/7/07 | EPA 120.1 | 0.500 | 59.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.83 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.6 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/9/07 | EPA 300.0 | 0.0900 | 0.0610 |  | " | J
Chloride | " | " |  | " | EPA 300.0 | 0.248 | 0.865 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | 0.0310 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | 1.68 |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 8/15/07 | EPA 351.2 | 0.250 | 0.250 |  | "
Dissolved Oxygen | 7082805 | 8/7/07 |  | 8/7/07 | EPA 360.1 | 1.00 | 9.55 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | 0.0640 |  | "
FB FIELD BLANK |  |  |  |  | B7H0703-15 |  |  |  | Water
Specific Conductance (EC) | 7082805 | 8/8/07 |  | 8/8/07 | EPA 120.1 | 0.500 | ND |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 5.11 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 25.4 |  | °C
Ammonia as N | 7082701 | " |  | 8/28/07 | EPA 300 | 0.0290 | ND |  | mg/L
Fluoride | 7080803 | " |  | 8/9/07 | EPA 300.0 | 0.0900 | ND |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.248 | ND |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0570 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0240 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.0940 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.132 | ND |  | "
Total Kjeldahl Nitrogen | 7081502 | 8/15/07 |  | 9/20/07 | EPA 351.2 | 0.250 | 0.250 |  | "
Dissolved Oxygen | 7082805 | 8/8/07 |  | 8/8/07 | EPA 360.1 | 1.00 | 4.81 |  | "
Phosphorus-Total | 7081503 | 8/21/07 |  | 9/4/07 | EPA 365.3 | 0.0200 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 11 of 22

## QC
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  |  | Sampled: | 8/7/07 to 8/8/07
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  |  | Received: | 8/8/07
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  |  | Reported: | 2/5/08 14:39
Wet Chemistry/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7082805 | Date Prepared: 8/6/07 | [5 empty] | Extraction Method: NO PREP
Reference | 7082805-SRM1
Turbidity | 8/6/07 | 5.06 |  |  |  | 5.09 | NTU | 80-120 | 101
Reference | 7082805-SRM2
Turbidity | 8/6/07 | 45.2 |  |  |  | 45.4 | NTU | 80-120 | 100
Reference | 7082805-SRM3
Turbidity | 8/6/07 | 506 |  |  |  | 506 | NTU | 80-120 | 100
Reference | 7082805-SRM7
Turbidity | 8/27/07 | 5.06 |  |  |  | 5.05 | NTU | 80-120 | 99.8
Reference | 7082805-SRM8
Turbidity | 8/27/07 | 45.2 |  |  |  | 46.1 | NTU | 80-120 | 102
Reference | 7082805-SRM9
Turbidity | 8/27/07 | 506 |  |  |  | 506 | NTU | 80-120 | 100
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 12 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 7080803 | Date Prepared: 8/8/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7080803-BLK1
Fluoride | 8/8/07 |  |  |  |  | ND | mg/L | 0.0900
Chloride | " |  |  |  |  | ND | " | 0.248
Nitrite as N | " |  |  |  |  | ND | " | 0.0570
Nitrate as N | " |  |  |  |  | ND | " | 0.0240
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0940
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.132
Blank | 7080803-BLK2
Fluoride | 8/8/07 |  |  |  |  | ND | mg/L | 0.0900
Chloride | " |  |  |  |  | ND | " | 0.248
Nitrite as N | " |  |  |  |  | ND | " | 0.0570
Nitrate as N | " |  |  |  |  | ND | " | 0.0240
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0940
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.132
Blank | 7080803-BLK3
Fluoride | 8/8/07 |  |  |  |  | ND | mg/L | 0.0900
Chloride | " |  |  |  |  | ND | " | 0.248
Nitrite as N | " |  |  |  |  | ND | " | 0.0570
Nitrate as N | " |  |  |  |  | ND | " | 0.0240
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0940
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.132
Blank | 7080803-BLK4
Fluoride | 8/8/07 |  |  |  |  | ND | mg/L | 0.0900
Chloride | " |  |  |  |  | ND | " | 0.248
Nitrite as N | " |  |  |  |  | ND | " | 0.0570
Nitrate as N | " |  |  |  |  | ND | " | 0.0240
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0940
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.132
Blank | 7080803-BLK5
Fluoride | 8/9/07 |  |  |  |  | ND | mg/L | 0.0900
Chloride | " |  |  |  |  | ND | " | 0.248
Nitrite as N | " |  |  |  |  | ND | " | 0.0570
Nitrate as N | " |  |  |  |  | ND | " | 0.0240
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0940
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 13 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 7080803-BLK5
Sulfate as SO4 | 8/9/07 |  |  |  |  | ND | mg/L | 0.132
Blank | 7080803-BLK6
Fluoride | 8/9/07 |  |  |  |  | ND | mg/L | 0.0900
Chloride | " |  |  |  |  | ND | " | 0.248
Nitrite as N | " |  |  |  |  | ND | " | 0.0570
Nitrate as N | " |  |  |  |  | ND | " | 0.0240
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0940
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.132
Blank | 7080803-BLK7
Fluoride | 8/9/07 |  |  |  |  | ND | mg/L | 0.0900
Chloride | " |  |  |  |  | ND | " | 0.248
Nitrite as N | " |  |  |  |  | ND | " | 0.0570
Nitrate as N | " |  |  |  |  | ND | " | 0.0240
Orthophosphate as P | " |  |  |  |  | ND | " | 0.0940
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.132
LCS | 7080803-BS1
Fluoride | 8/8/07 | 5.00 |  |  |  | 4.69 | mg/L | 80-120 | 93.9
Chloride | " | 5.00 |  |  |  | 4.48 | " | 80-120 | 89.6
Nitrite as N | " | 5.00 |  |  |  | 4.75 | " | 80-120 | 95.0
Nitrate as N | " | 5.00 |  |  |  | 4.78 | " | 80-120 | 95.6
Orthophosphate as P | " | 5.00 |  |  |  | 5.03 | " | 80-120 | 101
Sulfate as SO4 | " | 5.00 |  |  |  | 5.10 | " | 80-120 | 102
LCS | 7080803-BS2
Fluoride | 8/9/07 | 5.00 |  |  |  | 4.76 | mg/L | 80-120 | 95.2
Chloride | " | 5.00 |  |  |  | 4.43 | " | 80-120 | 88.5
Nitrite as N | " | 5.00 |  |  |  | 4.77 | " | 80-120 | 95.4
Nitrate as N | " | 5.00 |  |  |  | 4.82 | " | 80-120 | 96.4
Orthophosphate as P | " | 5.00 |  |  |  | 5.06 | " | 80-120 | 101
Sulfate as SO4 | " | 5.00 |  |  |  | 5.08 | " | 80-120 | 102
Calibration Check | 7080803-CCV1
Fluoride | 8/8/07 | 1.00 |  |  |  | 0.923 | mg/L | 80-120 | 92.3
Chloride | " | 1.00 |  |  |  | 0.880 | " | 80-120 | 88.0
Nitrite as N | " | 1.00 |  |  |  | 0.942 | " | 80-120 | 94.2
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 14 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Calibration Check (continued) | 7080803-CCV1
Nitrate as N | 8/8/07 | 1.00 |  |  |  | 0.993 | mg/L | 80-120 | 99.3
Orthophosphate as P | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
Sulfate as SO4 | " | 1.00 |  |  |  | 1.05 | " | 80-120 | 105
Calibration Check | 7080803-CCV2
Fluoride | 8/8/07 | 5.00 |  |  |  | 4.95 | mg/L | 80-120 | 99.0
Chloride | " | 5.00 |  |  |  | 4.63 | " | 80-120 | 92.6
Nitrite as N | " | 5.00 |  |  |  | 4.95 | " | 80-120 | 99.0
Nitrate as N | " | 5.00 |  |  |  | 4.87 | " | 80-120 | 97.5
Orthophosphate as P | " | 5.00 |  |  |  | 5.10 | " | 80-120 | 102
Sulfate as SO4 | " | 5.00 |  |  |  | 5.12 | " | 80-120 | 102
Duplicate | 7080803-DUP1 |  |  |  | B7H0703-01
Fluoride | 8/8/07 |  |  |  | 0.133 | 0.141 | mg/L |  |  |  | 10 | 5.84
Chloride | " |  |  |  | 0.814 | 0.822 | " |  |  |  | 10 | 0.978
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.113 | 0.113 | " |  |  |  | 10 | 0.00
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.816 | 0.443 | " |  |  |  | 10 | 59.3 | QR-01
Duplicate | 7080803-DUP2 |  |  |  | B7H0703-11
Fluoride | 8/9/07 |  |  |  | 0.0710 | 0.0980 | mg/L |  |  |  | 10 | 32.0 | QR-01
Chloride | " |  |  |  | 0.707 | 0.695 | " |  |  |  | 10 | 1.71
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.355 | 0.325 | " |  |  |  | 10 | 8.82
Post Spike | 7080803-PS1 |  |  |  | B7H0703-02
Fluoride | 8/8/07 | 2.50 |  |  | 0.0515 | 2.31 | mg/L | 80-120 | 90.2
Chloride | " | 2.50 |  |  | 0.371 | 2.50 | " | 80-120 | 85.3
Nitrite as N | " | 2.50 |  |  | ND | 2.32 | " | 80-120 | 92.7
Nitrate as N | " | 2.50 |  |  | 0.0560 | 2.33 | " | 80-120 | 90.9
Orthophosphate as P | " | 2.50 |  |  | 0.0130 | 2.46 | " | 80-120 | 98.0
Sulfate as SO4 | " | 2.50 |  |  | 0.164 | 2.68 | " | 80-120 | 100
Post Spike | 7080803-PS2 |  |  |  | B7H0703-12
Fluoride | 8/9/07 | 2.50 |  |  | 0.0555 | 2.23 | mg/L | 80-120 | 86.9
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 15 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Post Spike (continued) | 7080803-PS2 |  |  |  | B7H0703-12
Chloride | 8/9/07 | 2.50 |  |  | 0.364 | 2.49 | mg/L | 80-120 | 85.1
Nitrite as N | " | 2.50 |  |  | ND | 2.32 | " | 80-120 | 92.8
Nitrate as N | " | 2.50 |  |  | ND | 2.33 | " | 80-120 | 93.1
Orthophosphate as P | " | 2.50 |  |  | 0.0175 | 2.45 | " | 80-120 | 97.5
Sulfate as SO4 | " | 2.50 |  |  | 0.183 | 2.66 | " | 80-120 | 99.3
Reference | 7080803-SRM1
Fluoride | 8/8/07 | 1.00 |  |  |  | 0.790 | mg/L | 80-120 | 79.0 |  |  |  | QR-01
Chloride | " | 1.00 |  |  |  | 0.844 | " | 80-120 | 84.4
Nitrite as N | " | 1.00 |  |  |  | 0.940 | " | 80-120 | 94.0
Nitrate as N | " | 1.00 |  |  |  | 0.944 | " | 80-120 | 94.4
Orthophosphate as P | " | 1.00 |  |  |  | 0.941 | " | 80-120 | 94.1
Sulfate as SO4 | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Reference | 7080803-SRM2
Fluoride | 8/8/07 | 5.00 |  |  |  | 4.65 | mg/L | 80-120 | 93.1
Chloride | " | 20.0 |  |  |  | 19.5 | " | 80-120 | 97.6
Nitrite as N | " | 0.250 |  |  |  | 0.215 | " | 80-120 | 86.0
Nitrate as N | " | 5.00 |  |  |  | 4.62 | " | 80-120 | 92.5
Orthophosphate as P | " | 5.00 |  |  |  | 4.83 | " | 80-120 | 96.6
Sulfate as SO4 | " | 20.0 |  |  |  | 20.2 | " | 80-120 | 101
Reference | 7080803-SRM3
Fluoride | 8/9/07 | 1.00 |  |  |  | 0.863 | mg/L | 80-120 | 86.3
Chloride | " | 1.00 |  |  |  | 0.825 | " | 80-120 | 82.5
Nitrite as N | " | 1.00 |  |  |  | 0.921 | " | 80-120 | 92.1
Nitrate as N | " | 1.00 |  |  |  | 0.934 | " | 80-120 | 93.4
Orthophosphate as P | " | 1.00 |  |  |  | 0.945 | " | 80-120 | 94.5
Sulfate as SO4 | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Reference | 7080803-SRM4
Fluoride | 8/9/07 | 5.00 |  |  |  | 4.62 | mg/L | 80-120 | 92.4
Chloride | " | 20.0 |  |  |  | 19.0 | " | 80-120 | 95.2
Nitrite as N | " | 0.250 |  |  |  | 0.210 | " | 80-120 | 84.0
Nitrate as N | " | 5.00 |  |  |  | 4.52 | " | 80-120 | 90.3
Orthophosphate as P | " | 5.00 |  |  |  | 4.70 | " | 80-120 | 94.0
Sulfate as SO4 | " | 20.0 |  |  |  | 19.7 | " | 80-120 | 98.6
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 16 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 7080803-SRM5
Fluoride | 8/9/07 | 1.00 |  |  |  | 0.904 | mg/L | 80-120 | 90.4
Chloride | " | 1.00 |  |  |  | 0.872 | " | 80-120 | 87.2
Nitrite as N | " | 1.00 |  |  |  | 0.955 | " | 80-120 | 95.5
Nitrate as N | " | 1.00 |  |  |  | 0.975 | " | 80-120 | 97.5
Orthophosphate as P | " | 1.00 |  |  |  | 0.983 | " | 80-120 | 98.3
Sulfate as SO4 | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106
Reference | 7080803-SRM6
Fluoride | 8/9/07 | 5.00 |  |  |  | 5.01 | mg/L | 80-120 | 100
Chloride | " | 20.0 |  |  |  | 20.5 | " | 80-120 | 102
Nitrite as N | " | 0.250 |  |  |  | 0.333 | " | 80-120 | 133 |  |  |  | QR-01
Nitrate as N | " | 5.00 |  |  |  | 4.85 | " | 80-120 | 97.1
Orthophosphate as P | " | 5.00 |  |  |  | 5.18 | " | 80-120 | 104
Sulfate as SO4 | " | 20.0 |  |  |  | 21.1 | " | 80-120 | 106
Batch: 7081502 | Date Prepared: 8/15/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7081502-BLK1
Total Kjeldahl Nitrogen | 8/15/07 |  |  |  |  | ND | mg/L | 0.250
Blank | 7081502-BLK2
Total Kjeldahl Nitrogen | 8/15/07 |  |  |  |  | ND | mg/L | 0.250
Duplicate | 7081502-DUP1 |  |  |  | B7H0703-01
Total Kjeldahl Nitrogen | 8/15/07 |  |  |  | ND | 0.260 | mg/L |  |  |  | 20
Duplicate | 7081502-DUP2 |  |  |  | B7H0703-08
Total Kjeldahl Nitrogen | 8/15/07 |  |  |  | ND | 0.320 | mg/L |  |  |  | 20
Matrix Spike | 7081502-MS1 |  |  |  | B7H0703-02
Total Kjeldahl Nitrogen | 8/15/07 | 1.00 |  |  | ND | 0.840 | mg/L | 80-120 | 84.0
Matrix Spike | 7081502-MS2 |  |  |  | B7H0703-09
Total Kjeldahl Nitrogen | 8/15/07 | 1.00 |  |  | 0.320 | 0.980 | mg/L | 80-120 | 66.0 |  |  |  | QM-07
Reference | 7081502-SRM1
Total Kjeldahl Nitrogen | 8/15/07 | 4.13 |  |  |  | 3.61 | mg/L | 80-120 | 87.4
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 17 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 7081502-SRM2
Total Kjeldahl Nitrogen | 8/15/07 | 4.13 |  |  |  | 4.35 | mg/L | 80-120 | 105
Batch: 7081503 | Date Prepared: 8/21/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7081503-BLK1
Phosphorus-Total | 9/4/07 |  |  |  |  | ND | mg/L | 0.0200
Blank | 7081503-BLK2
Phosphorus-Total | 9/4/07 |  |  |  |  | ND | mg/L | 0.0200
Blank | 7081503-BLK3
Phosphorus-Total | 9/4/07 |  |  |  |  | ND | mg/L | 0.0200
LCS | 7081503-BS1
Phosphorus-Total | 9/4/07 | 1.00 |  |  |  | 1.07 | mg/L | 80-120 | 107
LCS | 7081503-BS2
Phosphorus-Total | 9/4/07 | 1.00 |  |  |  | 1.00 | mg/L | 80-120 | 100
LCS | 7081503-BS3
Phosphorus-Total | 9/4/07 | 1.00 |  |  |  | 0.955 | mg/L | 80-120 | 95.5
Duplicate | 7081503-DUP1 |  |  |  | B7H0704-01
Phosphorus-Total | 9/4/07 |  |  |  | 3.09 | 3.53 | mg/L |  |  |  | 20 | 13.3
Duplicate | 7081503-DUP2 |  |  |  | B7H0703-01
Phosphorus-Total | 9/4/07 |  |  |  | 0.0630 | 0.0640 | mg/L |  |  |  | 20 | 1.57
Duplicate | 7081503-DUP3 |  |  |  | B7H0703-10
Phosphorus-Total | 9/4/07 |  |  |  | 0.0870 | 0.0860 | mg/L |  |  |  | 20 | 1.16
Matrix Spike | 7081503-MS2 |  |  |  | B7H0703-02 | [7 empty] | QM-07
Phosphorus-Total | 9/4/07 | 1.00 |  |  | 0.0560 | 1.37 | mg/L | 80-120 | 131
Matrix Spike | 7081503-MS3 |  |  |  | B7H0703-09 | [7 empty] | QM-07
Phosphorus-Total | 9/4/07 | 1.00 |  |  | 0.0610 | 1.50 | mg/L | 80-120 | 144
Reference | 7081503-SRM1
Phosphorus-Total | 9/4/07 | 3.29 |  |  |  | 2.93 | mg/L | 80-120 | 89.1
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 18 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 7081503-SRM2
Phosphorus-Total | 9/4/07 | 3.29 |  |  |  | 2.94 | mg/L | 80-120 | 89.4
Reference | 7081503-SRM3
Phosphorus-Total | 9/4/07 | 3.29 |  |  |  | 2.95 | mg/L | 80-120 | 89.7
Batch: 7082701 | Date Prepared: 8/27/07 | [5 empty] | Extraction Method: NO PREP
Blank | 7082701-BLK1
Ammonia as N | 8/28/07 |  |  |  |  | 0.0130 | mg/L | 0.0290 |  |  |  |  | J
Blank | 7082701-BLK2
Ammonia as N | 8/28/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7082701-BLK3
Ammonia as N | 8/28/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7082701-BLK4
Ammonia as N | 8/28/07 |  |  |  |  | 0.0140 | mg/L | 0.0290 |  |  |  |  | J
Blank | 7082701-BLK5
Ammonia as N | 8/29/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7082701-BLK6
Ammonia as N | 8/29/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7082701-BLK7
Ammonia as N | 8/29/07 |  |  |  |  | ND | mg/L | 0.0290
Blank | 7082701-BLK8
Ammonia as N | 8/29/07 |  |  |  |  | 0.0130 | mg/L | 0.0290 |  |  |  |  | J
LCS | 7082701-BS1
Ammonia as N | 8/28/07 | 10.0 |  |  |  | 9.14 | mg/L | 80-120 | 91.4
LCS | 7082701-BS2
Ammonia as N | 8/29/07 | 10.0 |  |  |  | 9.44 | mg/L | 80-120 | 94.4
Calibration Check | 7082701-CCV1
Ammonia as N | 8/28/07 | 1.00 |  |  |  | 1.16 | mg/L | 80-120 | 116
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 19 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Calibration Check | 7082701-CCV2
Ammonia as N | 8/28/07 | 2.00 |  |  |  | 2.08 | mg/L | 80-120 | 104
Duplicate | 7082701-DUP1 |  |  |  | B7H0703-04
Ammonia as N | 8/28/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 7082701-DUP2 |  |  |  | B7H0703-13
Ammonia as N | 8/28/07 |  |  |  | ND | 0.0210 | mg/L |  |  |  | 10 |  | J
Duplicate | 7082701-DUP3 |  |  |  | B7H0704-06
Ammonia as N | 8/29/07 |  |  |  | ND | ND | mg/L |  |  |  | 10
Post Spike | 7082701-PS1 |  |  |  | B7H0703-05
Ammonia as N | 8/28/07 | 5.00 |  |  | ND | 4.64 | mg/L | 80-120 | 92.9
Post Spike | 7082701-PS2 |  |  |  | B7H0703-14
Ammonia as N | 8/28/07 | 5.00 |  |  | ND | 4.68 | mg/L | 80-120 | 93.5
Post Spike | 7082701-PS3 |  |  |  | B7H1302-01
Ammonia as N | 8/29/07 | 5.00 |  |  | ND | 4.92 | mg/L | 80-120 | 98.5
Reference | 7082701-SRM1
Ammonia as N | 8/28/07 | 2.00 |  |  |  | 2.15 | mg/L | 80-120 | 108
Reference | 7082701-SRM2
Ammonia as N | 8/29/07 | 2.00 |  |  |  | 2.14 | mg/L | 80-120 | 107
Reference | 7082701-SRM3
Ammonia as N | 8/29/07 | 5.00 |  |  |  | 4.68 | mg/L | 80-120 | 93.6
Reference | 7082701-SRM4
Ammonia as N | 8/29/07 | 2.00 |  |  |  | 2.17 | mg/L | 80-120 | 108
Reference | 7082701-SRM5
Ammonia as N | 8/29/07 | 5.00 |  |  |  | 4.75 | mg/L | 80-120 | 95.0
Batch: 7082805 | Date Prepared: 8/6/07 | [5 empty] | Extraction Method: NO PREP
Reference | 7082805-SRM4
Specific Conductance (EC) | 8/6/07 | 143 |  |  |  | 145 | umhos/cm | 85-115 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 20 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 7082805-SRM5
pH | 8/6/07 | 7.02 |  |  |  | 7.01 | pH Units | 93-107 | 99.9
Reference | 7082805-SRM6
Temperature | 8/6/07 | 20.4 |  |  |  | 20.3 | °C | 98-102 | 99.7
Dissolved Oxygen | " | 7.90 |  |  |  | 7.84 | mg/L | 87-113 | 99.2
Reference | 7082805-SRMA
Specific Conductance (EC) | 8/27/07 | 143 |  |  |  | 145 | umhos/cm | 85-115 | 101
Reference | 7082805-SRMB
pH | 8/27/07 | 7.02 |  |  |  | 7.08 | pH Units | 93-107 | 101
Reference | 7082805-SRMC
Temperature | 8/27/07 | 20.0 |  |  |  | 19.9 | °C | 98-102 | 99.7
Dissolved Oxygen | " | 8.00 |  |  |  | 8.25 | mg/L | 87-113 | 103
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 21 of 22

## NOTES
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring | Sampled: | 8/7/07 to 8/8/07
575 NE 15th St. |  | Project Number: | [none] | Received: | 8/8/07
Bend, OR 97701 |  | Project Manager: | Steve Prazak | Reported: | 2/5/08 14:39
Notes and Definitions
# | Note
J | Detected but below the Reporting Limit; therefore, result is an estimated concentration (CLP J-Flag).
QM-07 | The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery.
QR-01 | Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted
based on LCS and/or LCSD QC results.
DET | Analyte DETECTED
ND | Analyte NOT DETECTED at or above the reporting limit
NR | Not Reported
dry | Sample results reported on a dry weight basis
Recov. | Recovery
RPD | Relative Percent Difference
City of Bend Water Quality Laboratory
Page 22 of 22

## EXCEPTIONS
Report Exceptions List
(for internal use only)
Exception | Analysis or Specific Method | Lab Number | Analyte or General Method
J-Flags used | Anions By Ion Chromatography |  | (Water)
Result calculations based on MDL | Anions By Ion Chromatography |  | (Water)
Exceeds RPD control limit | Anions By Ion Chromatography | 7080803-DUP2 | Fluoride
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions By Ion Chromatography | 7080803-DUP2 | Fluoride
QR-01 (QR-01) | Anions By Ion Chromatography | 7080803-DUP2 | Fluoride
Exceeds lower control limit | Anions By Ion Chromatography | 7080803-SRM1 | Fluoride
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions By Ion Chromatography | 7080803-SRM1 | Fluoride
QR-01 (QR-01) | Anions By Ion Chromatography | 7080803-SRM1 | Fluoride
J (J) | Anions By Ion Chromatography | B7H0703-11 | Fluoride
J (J) | Anions By Ion Chromatography | B7H0703-13 | Fluoride
J (J) | Anions By Ion Chromatography | B7H0703-14 | Fluoride
Exceeds upper control limit | Anions By Ion Chromatography | 7080803-SRM6 | Nitrite as N
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions By Ion Chromatography | 7080803-SRM6 | Nitrite as N
QR-01 (QR-01) | Anions By Ion Chromatography | 7080803-SRM6 | Nitrite as N
J (J) | Anions By Ion Chromatography | B7H0703-06 | Orthophosphate as P
J (J) | Anions By Ion Chromatography | B7H0703-07 | Orthophosphate as P
J (J) | Anions By Ion Chromatography | B7H0703-10 | Orthophosphate as P
J (J) | Anions By Ion Chromatography | B7H0703-12 | Orthophosphate as P
J (J) | Anions By Ion Chromatography | B7H0703-13 | Orthophosphate as P
J (J) | Anions By Ion Chromatography | B7H0703-14 | Orthophosphate as P
Exceeds RPD control limit | Anions By Ion Chromatography | 7080803-DUP1 | Sulfate as SO4
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions By Ion Chromatography | 7080803-DUP1 | Sulfate as SO4
QR-01 (QR-01) | Anions By Ion Chromatography | 7080803-DUP1 | Sulfate as SO4
Result calculations based on MDL | Coliform, Fecal as E.coli (QT2K) |  | (Water)
Result calculations based on MDL | Coliforms, Total (QT2K) |  | (Water)
J-Flags used | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, Ammonia by EPA 300 |  | (Water)
J (J) | Nitrogen, Ammonia by EPA 300 | 7082701-BLK1 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | 7082701-BLK4 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | 7082701-BLK8 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | 7082701-DUP2 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B7H0703-01 | Ammonia as N
Result calculations based on MDL | Nitrogen, TKN by EPA 351.2 |  | (Water)
RPD calculations based on %Recovery | Nitrogen, TKN by EPA 351.2 |  | (Water)
Exceeds lower control limit | Nitrogen, TKN by EPA 351.2 | 7081502-MS2 | Total Kjeldahl Nitrogen
QM-07: The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery. | Nitrogen, TKN by EPA 351.2 | 7081502-MS2 | Total Kjeldahl Nitrogen
QM-07 (QM-07) | Nitrogen, TKN by EPA 351.2 | 7081502-MS2 | Total Kjeldahl Nitrogen
Result calculations based on MDL | Oxygen, Dissolved by EPA 360.1 |  | (Water)
Result calculations based on MDL | pH by EPA 150.1 |  | (Water)
Result calculations based on MDL | Phosphorous by EPA 365.3 |  | (Water)
RPD calculations based on %Recovery | Phosphorous by EPA 365.3 |  | (Water)
Exceeds upper control limit | Phosphorous by EPA 365.3 | 7081503-MS2 | Phosphorus-Total
Exceeds upper control limit | Phosphorous by EPA 365.3 | 7081503-MS3 | Phosphorus-Total
QM-07: The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery. | Phosphorous by EPA 365.3 | 7081503-MS2
QM-07 (QM-07) | Phosphorous by EPA 365.3 | 7081503-MS2
QM-07: The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery. | Phosphorous by EPA 365.3 | 7081503-MS3
QM-07 (QM-07) | Phosphorous by EPA 365.3 | 7081503-MS3
Result calculations based on MDL | Temperature by EPA 170.1 |  | (Water)
J-Flags used | Turbidity by EPA 180.1 |  | (Water)
Result calculations based on MDL | Turbidity by EPA 180.1 |  | (Water)
RPD calculations based on %Recovery | Turbidity by EPA 180.1 |  | (Water)
J (J) | Turbidity by EPA 180.1 | B7H0703-15 | Turbidity
Default Report (not modified)
VERSION 5.85:2834