## 2009
2009 Vemco Log
Partner | Vemco | pre-2009 rating | post-2009 rating | Deployment | Retrieval | Pre-Comments | Post-Comments | Date received | Date returned
| 5414A | B+ | Logger failed in field |  |  |  |  | ODEQ pre 2003
| 5481A |  |  |  |  | Failed to establish communication |  | ODEQ 4/2004 | 2009-07-09
| 6081 |  |  |  |  | Failed to establish communication |  | ODEQ 4/2004 | 2009-07-10
| 6083 |  |  |  |  | Failed to establish communication |  | ODEQ 4/2004 | 2009-07-11
| 8494 | A | B+ |  |  | All Bs were .6 to 1 off | All Bs were off .6 | ODEQ 6/2004
| 2066J | A | A |  |  |  |  | ODEQ 5/2007
| 2067J | A | A | 2009-03-03 |  |  |  | ODEQ 5/2007
| 2068J | B+ | Failed to download hot/cold |  |  | .7 degree off on all cold readings |  | ODEQ 5/2007
| 2069J | A | A |  |  |  |  | ODEQ 5/2007
| 2070J | B+ | A |  |  | .7 degree off on all cold readings |  | ODEQ 5/2007
| 9470 | B+ | A |  |  | All Bs were off .8 or .7 |  | ODEQ 5/2007
| 2168J | A | A |  |  |  |  | ODEQ 5/2008
| 2164J | B+ | A |  |  | All Bs were off from .7 to 1 |  | ODEQ 5/2008
| 2165J | B+ | A |  |  | All Bs were off from .6 to 1 |  | ODEQ 5/2008
| 2169J | A | A |  |  |  |  | ODEQ 5/2008
| 2174J | B+ | B |  |  | 1 degree C off on all cold readings | All Bs were off .9 | ODEQ 5/2008
| 2173J | B | A |  |  | .6 to .8 off and thus, B's. |  | ODEQ 5/2008
| 2172J | A | A |  |  |  |  | ODEQ 5/2008
| 2166J | A- | A | 2009-03-03 |  | 3 B's were .6 to .7 off |  | ODEQ 5/2008
UDWC Owned | 4671J | A | B |  |  | All As | All Bs were off .9 | Vemco 4/2009
UDWC Owned | 4675J | A | A |  |  |  |  | Vemco 4/2009
UDWC Owned | 4672J | A | A |  |  |  |  | Vemco 4/2009
UDWC Owned | 4674J | A | B |  |  |  | All Bs were off .9 | Vemco 4/2009
UDWC Owned | 4673J | A | A |  |  |  |  | Vemco 4/2009
UDWC Owned | 2184J | B | B | 2009-03-03 |  | All B's were .7 to .9 off | All Bs were off .8 | ODEQ 5/2008
City Audited (UDWC Deployment) | 8865 | A | A |  |  |  |  | ODEQ 6/2004
with city | 2171J | [6 empty] | ODEQ 5/2008
with city | 2170J | [6 empty] | ODEQ 5/2008
with city | 2167J | [6 empty] | ODEQ 5/2008
Total 'Good' Deployment set-ups 3-30-2009: |  |  | 24
Total 'Good' Deployments Deployed as of 3-30-09: |  |  | 3
Need 7 more loggers to do 23 sites and have 4 back-ups
Total 'ok' Deployments 3-30-09: |  |  | 2
Total 'Bad' Deployments 3-30-09: |  |  | 5
27 floats as of 3-30-09
Grand total: |  |  | 34

## 2008
2008 Vemco Log
Partner | Vemco | pre-2008 rating | post-2008 rating | Deployment | Retrieval | Pre-Comments | Post-Comments | Date received | Date returned
| 5414A | A | A | x | x |  |  | ODEQ pre 2003
| 5428A | A | A | x | x |  | Strange readings during end of deployment; Sent to ODEQ | ODEQ pre 2003 | 2009-01-01
| 5434A | A | Failed to Download | x | x |  | Failed to Download; Sent to ODEQ | ODEQ pre 2003 | 2009-01-01
| 5481A | A | A | x | x | 2 or 3 attempts to download data |  | ODEQ 4/2004
| 6046 | B | Failed to Download | x | x | 5 cold B's | Failed to Download; Sent to ODEQ | ODEQ 4/2004 | 2009-01-01
| 6081 | A | A | x | x |  |  | ODEQ 4/2004
| 6083 | A | A | x | x |  |  | ODEQ 4/2004
| 6085 | B- |  |  |  | Multiple attempts necessary to download data, 5 cold B+'s | Could not read; not deployed 2008; sent to ODEQ | ODEQ 4/2004 | 2009-01-01
| 8494 | A | A | x | x |  |  | ODEQ 6/2004
| 2066J | A | A | x | x |  |  | ODEQ 5/2007
| 2067J | A | A | x | x |  |  | ODEQ 5/2007
| 2068J | A | A | x | x |  |  | ODEQ 5/2007
| 2069J | A | A | x | x |  |  | ODEQ 5/2007
| 2070J | A | A | x | x |  |  | ODEQ 5/2007
| 9470 | B- | A | x | x | 5 cold B's, .8 to .9 difference |  | ODEQ 5/2007
| 2168J | A | [5 empty] | ODEQ 5/2008
| 2164J | A | A | x | x |  |  | ODEQ 5/2008
| 2165J | A | A | x | x |  |  | ODEQ 5/2008
| 2169J | A | A | x | x |  |  | ODEQ 5/2008
| 2174J | A | A | x | x |  |  | ODEQ 5/2008
| 2173J | A | A | x | x |  |  | ODEQ 5/2008
| 2172J | B | A | x | x | 5 cold B's |  | ODEQ 5/2008
| 2166J | A | A | x | x |  |  | ODEQ 5/2008
| 2184J | A | A | x | x |  |  | ODEQ 5/2008
| 5413A | F |  |  |  | Interface couldn't read to initialize |  | ODEQ pre 2003 | 2009-01-01
| 5416A | F |  |  |  | Interface couldn't read to initialize |  | ODEQ pre 2003 | 2009-01-01
| 5423A | F |  |  |  | Interface couldn't read to initialize |  | ODEQ pre 2003 | 2009-01-01
| 5433A | F |  |  |  | Interface couldn't read to initialize |  | ODEQ pre 2003 | 2009-01-01
with city 5-08 | 2171J | A- |  |  |  | 5 cold A's 0.5 difference |  | ODEQ 5/2008
with city 5-08 | 2170J | A | [5 empty] | ODEQ 5/2008
with city 5-08 | 2167J | A | [5 empty] | ODEQ 5/2008
with city | 5430A |  | MIA |  |  |  | Missing as of 11/28/2007 | ODEQ pre 2003
with city | 8750 |  | MIA |  |  |  | Missing as of 1/17/2008 | ODEQ 6/2004
with city | 8865 | [5 empty] | Returned from City 4-2009 | ODEQ 6/2004
Deployment set ups April 2008: 22

## 2007
2007 Vemco Log
Partner | Vemco | pre-2007 rating | post-2007 rating | deployment | Retrieval | Comments | Date received | Date returned
| 5108A | A |  | x | x | Failed in field, unable to download, sent to DEQ | ODEQ 4/2004 | ODEQ 2-2008
| 5413A | A | A | x | x |  | ODEQ pre 2003
| 5414A | A | A | x | x |  | ODEQ pre 2003
| 5416A | A | A | x | x |  | ODEQ pre 2003
| 5417A | B |  |  |  | Trouble activating/ no activation for tests on 10-24-07, sent to DEQ | ODEQ pre 2003 | ODEQ 2-2008
| 5420A | A |  | x | x | unable to dowload, sent to DEQ | ODEQ pre 2003 | ODEQ 2-2008
| 5423A | B | A | x | x | 4 cold B's | ODEQ pre 2003
| 5424A | A |  | x | x | Failed in field, unable to download, sent to DEQ | ODEQ pre 2003 | ODEQ 2-2008
| 5428A | A | A | x | x |  | ODEQ pre 2003
with city | 5430A | B |  | x | x | Only 3 cold B's | ODEQ pre 2003
| 5433A | B | B |  |  | 4 cols B's | ODEQ pre 2003
| 5434A | B | A | x | x | Couple B's in warm and cold | ODEQ pre 2003
| 5438A | B- |  | x | x | 7 B's , 3 A's, unable to download, sent to DEQ | ODEQ pre 2003 | ODEQ 2-2008
| 5481A | A | A | x | x |  | ODEQ 4/2004
| 6046 | A | A | x | x | A hot B cold, failed to download | ODEQ 4/2004
| 6081 | A | A | x | x |  | ODEQ 4/2004
| 6083 | A | A | x | x |  | ODEQ 4/2004
| 6085 | A | A | x | x |  | ODEQ 4/2004
| 6706 | F | A |  |  | Failed in field | ODEQ 6/2004 | ODEQ 2-2008
| 8494 | A | A | x | x |  | ODEQ 6/2004
| 8496 | F | A |  |  | 1 cold fail, 4 cold B's | ODEQ 6/2004 | ODEQ 2-2008
| 8749 | F | A |  |  | Failed 4 cold, A's on Warm | ODEQ 6/2004 | ODEQ 2-2008
with city | 8750 | B |  | x | x | 3 Cold B's | ODEQ 6/2004
with city | 8865 | B |  | x | x | Only 3 cold B's | ODEQ 6/2004
| 2066 | A | A | x | x | Deployed Aug. @ Benham | ODEQ 5/2007
| 2067 | A | A | x | x | Deployed Aug. @ d/s Gilchrist Pond | ODEQ 5/2007
| 2068 | A | A |  |  |  | ODEQ 5/2007
| 2069 | A | A |  |  |  | ODEQ 5/2007
| 2070 | A | A |  |  |  | ODEQ 5/2007
| 9470 |  | A
Deployment set ups: 24

## 2006
2005 Vemco Log
Partner | Vemco | 2006 rating | deployment | Retrieval | Comments | Date received | Date returned
City | 1180E | B |  |  | problems in 04, A rating in 2006 | City 4/2004 | UDWC 4/2006
City | 1181E | B |  |  | stopped flashing | City 4/2004 | UDWC 4/2006
City | 1182E | A |  |  |  | City 4/2004 | UDWC 4/2006
City | 1183E | A |  |  |  | City 4/2004 | UDWC 4/2006
City | 1184E | F |  |  | Failed to log | City 4/2004 | UDWC 4/2006
City | 1185E | A |  |  |  | City 4/2004 | UDWC 4/2006
City | 1187E | A |  |  |  | City 4/2004 | UDWC 4/2006
City | 1189E | A |  |  |  | City 4/2004 | UDWC 4/2006
City | 1190E | A |  |  |  | City 4/2004 | UDWC 4/2006
City | 1192E | A |  |  |  | City 4/2004 | UDWC 4/2006
City | 1193E | F |  |  | Failed to log | City 4/2004 | UDWC 4/2006
| 4360A | A | X | X | Failed to download | ODEQ 4/2004 | 1/2007 to ODEQ
| 5108A | A | X | X |  | ODEQ 4/2004
| 5116A | F |  |  | Failed to log | ODEQ 4/2004 | 1/2007 to ODEQ
| 5117A | F |  |  | Failed to log | ODEQ 4/2004 | 1/2007 to ODEQ
| 5120A | F |  |  | Failed to log | ODEQ 4/2004 | 1/2007 to ODEQ
| 5413A | A | X | X |  | ODEQ pre 2003
| 5414A | A | X | X | A hot B cold | ODEQ pre 2003
| 5415A | A | X |  | Split in two | ODEQ pre 2003 | 1/2007 to ODEQ
| 5416A | A | X | X |  | ODEQ pre 2003
| 5417A | A | X | X |  | ODEQ pre 2003
| 5420A | A | X | X |  | ODEQ pre 2003
| 5423A | A | X | X |  | ODEQ pre 2003
| 5424A | A | X | X |  | ODEQ pre 2003
| 5428A | B | X | X |  | ODEQ pre 2003
| 5429A | B | X | X | Problems in 04, failed to download | ODEQ pre 2003 | 1/2007 to ODEQ
| 5430A | B | X | X | Problems in 04 | ODEQ pre 2003
| 5433A | A | X | X |  | ODEQ pre 2003
| 5434A | A | X | X |  | ODEQ pre 2003
| 5436A | A | X |  | MIA | ODEQ pre 2003
| 5438A | A | X | X | A hot B cold | ODEQ pre 2003
| 5442A | A | X | X | Failed to log after deployment 2006 | ODEQ pre 2003 | 1/2007 to ODEQ
| 5481A | A | X | X |  | ODEQ 4/2004
| 6046 | A | X | X | A hot B cold, failed to download | ODEQ 4/2004
| 6081 | A | X | X |  | ODEQ 4/2004
| 6083 | A | X | X |  | ODEQ 4/2004
| 6085 | A | X | X |  | ODEQ 4/2004
| 6089 | A | X |  | MIA | ODEQ 4/2004
| 6706 | A | X |  | Failed in field | ODEQ 6/2004
| 6713 | A | X | X | Failed in field | ODEQ 6/2004 | 1/2007 to ODEQ
| 8493 | A | X |  | MIA | ODEQ 6/2004
| 8494 | A | X | X |  | ODEQ 6/2004
| 8496 | A | X | X |  | ODEQ 6/2004
| 8749 | B | X | X | Problems in 04 | ODEQ 6/2004
| 8750 | A |  |  |  | ODEQ 6/2004
City | 8865 | A | X |  | City of Bend borrowing for one week starting 8/28/06 | ODEQ 6/2004
| 8867 | A |  |  | MIA | ODEQ 6/2004
| 9450 | F |  |  | Failed to log | ODEQ 6/2004 | 1/2007 to ODEQ
| 9470 | B | X | X | Problems in 04 | ODEQ 6/2004

## 2005
2005 Vemco Log
Partner | Vemco | rating | deployment | Retrieval | Comments | Date received | Date returned
City | 1180E | B | X | X | problems in 04 | City 4/2004
City | 1181E | A | X | X | stopped flashing | City 4/2004
City | 1182E | A | X | X |  | City 4/2004
City | 1183E | A | X | X |  | City 4/2004
City | 1184E | A | X | X |  | City 4/2004
City | 1185E | A | X | X |  | City 4/2004
UDWC | 1187E | A | X | X |  | City 4/2004
City | 1189E | A | X | X |  | City 4/2004
City | 1190E | A | X | X |  | City 4/2004
City | 1192E | A | X | X |  | City 4/2004
City | 1193E | A | X | X |  | City 4/2004
COID | 2981E | A |  |  |  | COID 4/2005 | 4/29/2005 to COID
COID | 2982E | A |  |  |  | COID 4/2005 | 4/29/2005 to COID
COID | 2983E | A |  |  |  | COID 4/2005 | 4/29/2005 to COID
City | 4360A | A | X | X |  | ODEQ 4/2004
| 5108A | A | X | X |  | ODEQ 4/2004
| 5116A | A | X | X |  | ODEQ 4/2004
| 5117A | A | X | X |  | ODEQ 4/2004
| 5120A | A | X | X |  | ODEQ 4/2004
BLM | 5413A | need audit | 2004 | X | need 2004 audit | ODEQ pre 2003
BLM | 5414A | need audit | 2004 | X | need 2004 audit | ODEQ pre 2003
BLM | 5415A | need audit | 2004 | X | need 2004 audit | ODEQ pre 2003
| 5416A | A | X | X |  | ODEQ pre 2003
| 5417A | A | X | X |  | ODEQ pre 2003
| 5419A | A | X | X | stopped flashing | ODEQ pre 2003 | 2/2006 to ODEQ
| 5420A | A | X | X |  | ODEQ pre 2003
| 5421A | A | X | X | stopped flashing | ODEQ pre 2003 | 2/2006 to ODEQ
| 5422A | A | X | X | stopped flashing | ODEQ pre 2003 | 2/2006 to ODEQ
| 5423A | A | X | X |  | ODEQ pre 2003
| 5424A | A | X | X |  | ODEQ pre 2003
| 5426A | Failed | send bk |  | not reading | ODEQ pre 2003 | 2/2006 to ODEQ
| 5428A | B |  |  | problems in 04 | ODEQ pre 2003
| 5429A | B |  |  | problems in 04 | ODEQ pre 2003
| 5430A | B |  |  | problems in 04 | ODEQ pre 2003
| 5432A | Failed | send bk |  | problem fitting into interface | ODEQ pre 2003 | 2/2006 to ODEQ
| 5433A | A | X | X |  | ODEQ pre 2003
| 5434A | A | X | X |  | ODEQ pre 2003
| 5436A | A | X | X |  | ODEQ pre 2003
| 5438A | A | X | X |  | ODEQ pre 2003
| 5442A | A | X | X |  | ODEQ pre 2003
| 5481A | A | X | X |  | ODEQ 4/2004
| 6046 | A | X | X |  | ODEQ 4/2004
| 6081 | A | X | X |  | ODEQ 4/2004
| 6082 | A | X | X | stopped flashing | ODEQ 4/2004 | 2/2006 to ODEQ
| 6083 | A | X | X |  | ODEQ 4/2004
| 6085 | A | X | X |  | ODEQ 4/2004
| 6089 | A |  |  |  | ODEQ 4/2004
| 6704 | A | X | X | failed in the field | ODEQ 6/2004 | 2/2006 to ODEQ
| 6706 | A | X | X |  | ODEQ 6/2004
| 6713 | A | X | X | logged backward in time | ODEQ 6/2004 | 1/2007 to ODEQ
| 8493 | A | X | X |  | ODEQ 6/2004
| 8494 | A |  |  |  | ODEQ 6/2004
City | 8496 | A | X | X |  | ODEQ 6/2004
| 8749 | B |  |  | problems in 04 | ODEQ 6/2004
| 8750 | A |  |  |  | ODEQ 6/2004
| 8865 | A | X | X |  | ODEQ 6/2004
| 8867 | A |  |  |  | ODEQ 6/2004
| 8886 | Failed | send bk |  | not reading | ODEQ 6/2004 | 2/2006 to ODEQ
| 9450 | A |  |  |  | ODEQ 6/2004
| 9470 | B |  |  | problems in 04 | ODEQ 6/2004

## 2004
2004 Vemco Log
Partner | Vemco | deployment | Retrieval | Comments | Date received | Date returned
BLM | 5413A | X |  |  | ODEQ pre 2003
BLM | 5414A | X |  |  | ODEQ pre 2003
BLM | 5415A | X |  |  | ODEQ pre 2003
| 5416A | X | X |  | ODEQ pre 2003
| 5417A | X | X |  | ODEQ pre 2003
| 5418A | X | X | stoped flashing mid deploy, start 4/29/04 stop 4/5/04? Failed audit 11/1/04 | ODEQ pre 2003 | X
| 5419A | X | X |  | ODEQ pre 2003
| 5420A | X | X |  | ODEQ pre 2003
| 5421A | X | X |  | ODEQ pre 2003
| 5422A | X | X |  | ODEQ pre 2003
| 5423A | X | X |  | ODEQ pre 2003
| 5424A | X | X |  | ODEQ pre 2003
| 5426A | X | X |  | ODEQ pre 2003
| 5427A | X | MIA |  | ODEQ pre 2003
| 5428A | X | X | stoped flashing mid deploy, start 5/13/04 stop 4/5/04? Passed audit 11/1/04 | ODEQ pre 2003
| 5429A | X | X | failed audit, 6/28/04, passed audit 11/1/04 | ODEQ pre 2003
| 5430A | X | X | stoped flashing mid deploy, start 4/29/04 stop 4/5/04? Passed audit 11/1/04 | ODEQ pre 2003
| 5432A | X | X | stoped flashing mid deploy, start 4/29/04 stop 4/5/04? Passed audit 10/29/04 | ODEQ pre 2003
| 5433A | X | X |  | ODEQ pre 2003
| 5434A | X | X |  | ODEQ pre 2003
| 5435A | X | X | logged 13 days, every hour on the hour, then failed | ODEQ pre 2003 | X
| 5436A | X | X |  | ODEQ pre 2003
| 5438A | X | X |  | ODEQ pre 2003
| 5440A | X | X | logged 23 hours, every hour on the hour, then failed | ODEQ pre 2003 | X
USFS | 5442A | X | X |  | ODEQ pre 2003
USFS | 4359A | X | X | logged 7 days, every hour on the hour, then failed | ODEQ 4/2004 | X
USFS | 4360A | X | X |  | ODEQ 4/2004
USFS | 5108A | X | X |  | ODEQ 4/2004
USFS | 5116A | X | X |  | ODEQ 4/2004
USFS | 5117A | X | X |  | ODEQ 4/2004
USFS | 5120A | X | X |  | ODEQ 4/2004
USFS | 5481A | X | X |  | ODEQ 4/2004
| 6042 | X | X | unit split in half | ODEQ 4/2004 | X
| 6046 | X | X |  | ODEQ 4/2004
| 6049 | X | X | vandals, split unit in half | ODEQ 4/2004 | X
USFS | 6081 | X | X |  | ODEQ 4/2004
| 6082 | X | X |  | ODEQ 4/2004
| 6083 |  |  |  | ODEQ 4/2004
| 6085 | X | X |  | ODEQ 4/2004
| 6089 | X | X |  | ODEQ 4/2004
| 6704 | X | X |  | ODEQ 6/2004
| 6706 | X | X |  | ODEQ 6/2004
| 6713 | X | X |  | ODEQ 6/2004
| 8493 | X | X |  | ODEQ 6/2004
| 8494 | X | X |  | ODEQ 6/2004
| 8496 |  |  |  | ODEQ 6/2004
| 8749 |  |  | failed audit, 6/28/04, passed audit 11/1/04 | ODEQ 6/2004
| 8750 | X | X |  | ODEQ 6/2004
COID | 8865 | X | X |  | ODEQ 6/2004
COID | 8867 | X | X |  | ODEQ 6/2004
COID | 8886 | X | X |  | ODEQ 6/2004
| 9450 | X | X |  | ODEQ 6/2004
| 9470 |  |  | failed audit, 6/28/04, passed audit 11/1/04 | ODEQ 6/2004
City | 1180E | X | X | logged 23 hours, every hour on the hour, then failed, re did audit and it passed, therefor deployed as a duplicate | City 4/2004
City | 1181E | X | X |  | City 4/2004
City | 1182E | X | X |  | City 4/2004
City | 1183E | X | X |  | City 4/2004
City | 1184E | X | X |  | City 4/2004
City | 1185E | X | X |  | City 4/2004
City | 1186E | X | MIA | vandals | City 4/2004
City | 1187E | X | X |  | City 4/2004
City | 1188E | X | MIA | vandals | City 4/2004
City | 1189E | X | X |  | City 4/2004
City | 1190E | X | X |  | City 4/2004
City | 1191E | X | MIA | vandals | City 4/2004
City | 1192E | X | X |  | City 4/2004
City | 1193E | X | X |  | City 4/2004
COID | 2053E | X | X | returned to manufacturer and exchanged | COID 7/19/04 | X
COID | 2054E | X | X | returned to manufacturer and exchanged | COID 7/19/04 | X
COID | 2055E | X | X | returned to manufacturer and exchanged | COID 7/19/04 | X

## 2003
2003 Vemco Log
Partner | Vemco | Initialization date & initials | Retrieval | Comments | Date returned to ODEQ
| 5413A |  | Y | Not deployed, needs 2002 post deployment accuracy check
ODFW | 5414A | 2003, NLB | Y | Site undetermined
ODFW | 5415A | 2003, NLB | Y | Site undetermined
| 5416A |  |  | Not deployed
| 5417A |  |  | Not deployed
| 5418A |  |  | Not deployed
| 5419A |  |  | Not deployed
| 5420A |  |  | Not deployed
| 5421A | 2003, NLB | Y
| 5422A | 2003, NLB | Y
| 5423A | 2003, NLB | Y
| 5424A | 2003, NLB | Y
| 5425A |  |  | Missing in action since 2002
| 5426A | 2003, NLB | Y
| 5427A | 2003, NLB | Y
| 5428A | 2003, NLB | Y
| 5429A | 2003, NLB | Y
| 5430A | 2003, NLB | Y
| 5431A | 2003, NLB | NO | Attempt to retrieve in future
| 5432A | 2003, NLB | Y
| 5433A | 2003, NLB | Y
| 5434A | 2003, NLB | Y
| 5435A | 2003, NLB | Y
| 5436A | 2003, NLB | Y
| 5437A | 2003, NLB | Y | Time shift | 2004-03-05
| 5438A | 2003, NLB | Y
| 5439A | 2003, NLB | Y | Time shift | 2004-03-05
| 5440A | 2003, NLB | Y
| 5441A | 2003, NLB | NO | Attempt to retrieve in future
| 5442A | 2003, NLB | Y
USFS | 8482 | 2003, NLB | Y | Failed to initialize | 2004-03-05
USFS | 8493 | 2003, NLB | Y | Failed to initialize | 2004-03-05
USFS | 8494 | 2003, NLB | Y | Failed to initialize | 2004-03-05
USFS | 8496 | 2003, NLB | Y | Failed to initialize | 2004-03-05
USFS | 8862 | 2003, NLB | Y | Failed unit | 2004-03-05
USFS | 8865 | 2003, NLB | Y | Failed to initialize | 2004-03-05
USFS | 8867 | 2003, NLB | Y | Failed to initialize | 2004-03-05
USFS | 8886 | 2003, NLB | Y | Failed to initialize | 2004-03-05
USFS | 8887 | 2003, NLB | Y | Failed unit | 2004-03-05
OWRD | 9445 | 2003, NLB | Y |  | Returned to ODEQ?
USFS | 9450 | 2003, NLB | Y | Time shift | 2004-03-05
USFS | 9470 | 2003, NLB | Y |  | 2004-03-05

## 2002
2002 Vemco Log
Partner | Vemco | Initialization date & initials | Retrieval | Comments | Date returned to ODEQ
| 5413A | 2002, NLB | Y
| 5414A | 2002, NLB | Y
| 5415A | 2002, NLB | Y
| 5416A | 2002, NLB | Y
| 5417A | 2002, NLB | Y | Failed to initialize
ODFW | 5418A | 2002, NLB | Y | ODFW did not deploy
ODFW | 5419A | 2002, NLB | Y
ODFW | 5420A | 2002, NLB | Y
| 5421A | 2002, NLB | Y
| 5422A | 2002, NLB | Y
| 5423A | 2002, NLB | Y
| 5424A | 2002, NLB | Y
| 5425A | 2002, NLB | NO | Missing in action
| 5426A | 2002, NLB | Y
USFS | 5427A | 2002, NLB | Y
USFS | 5428A | 2002, NLB | Y | Failed to initialize
| 5429A | 2002, NLB | Y
| 5430A | 2002, NLB | Y | Failed to initialize
| 5431A | 2002, NLB | Y
| 5432A | 2002, NLB | Y
| 5433A | 2002, NLB | Y
| 5434A | 2002, NLB | Y
| 5435A | 2002, NLB | Y
| 5436A | 2002, NLB | Y
| 5437A | 2002, NLB | Y